## Overnight Lending Rates (hidden)
Canadian Overnight Repo Rate Average
Summary | Date
Low | 2021-12-01 | 0.10238 |  | Canadian Overnight Repo Rate Average (CORRA) - Bank of Canada
High | 2023-12-01 | 5.0347
10 year Average |  | 1.337%
Date | Rate |  | Date | Rate | Date | Rate | Date | Rate
2012-01 | 0.99944 |  | 2015-01 | 0.9116 | 2018-01 | 1.11 | 2021-01 | 0.181
2012-02 | 0.99655 |  | 2015-02 | 0.78305 | 2018-02 | 1.2259 | 2021-02 | 0.19579
2012-03 | 1.0041 |  | 2015-03 | 0.7587 | 2018-03 | 1.2332 | 2021-03 | 0.1613
2012-04 | 1.0221 |  | 2015-04 | 0.74906 | 2018-04 | 1.2563 | 2021-04 | 0.16048
2012-05 | 1.0059 |  | 2015-05 | 0.7214 | 2018-05 | 1.2464 | 2021-05 | 0.185
2012-06 | 1.0061 |  | 2015-06 | 0.74671 | 2018-06 | 1.263 | 2021-06 | 0.17682
2012-07 | 0.99718 |  | 2015-07 | 0.62263 | 2018-07 | 1.4242 | 2021-07 | 0.18571
2012-08 | 1.0143 |  | 2015-08 | 0.52916 | 2018-08 | 1.4798 | 2021-08 | 0.19714
2012-09 | 1.0004 |  | 2015-09 | 0.4995 | 2018-09 | 1.4974 | 2021-09 | 0.177
2012-10 | 1.0108 |  | 2015-10 | 0.50601 | 2018-10 | 1.5754 | 2021-10 | 0.1855
2012-11 | 1.0077 |  | 2015-11 | 0.49794 | 2018-11 | 1.7522 | 2021-11 | 0.17429
2012-12 | 1.0069 |  | 2015-12 | 0.53098 | 2018-12 | 1.778 | 2021-12 | 0.10238
2013-01 | 1.014 |  | 2016-01 | 0.52946 | 2019-01 | 1.7499 | 2022-01 | 0.162
2013-02 | 1.0159 |  | 2016-02 | 0.51014 | 2019-02 | 1.739 | 2022-02 | 0.1726
2013-03 | 1.0178 |  | 2016-03 | 0.50609 | 2019-03 | 1.7389 | 2022-03 | 0.4104
2013-04 | 1.0169 |  | 2016-04 | 0.51785 | 2019-04 | 1.7509 | 2022-04 | 0.709
2013-05 | 1.0159 |  | 2016-05 | 0.51171 | 2019-05 | 1.7466 | 2022-05 | 0.9562
2013-06 | 1.0223 |  | 2016-06 | 0.52242 | 2019-06 | 1.7228 | 2022-06 | 1.4373
2013-07 | 1.011 |  | 2016-07 | 0.53633 | 2019-07 | 1.7497 | 2022-07 | 2.066
2013-08 | 0.99135 |  | 2016-08 | 0.5055 | 2019-08 | 1.7533 | 2022-08 | 2.5014
2013-09 | 0.99292 |  | 2016-09 | 0.50609 | 2019-09 | 1.7472 | 2022-09 | 3.1005
2013-10 | 0.99716 |  | 2016-10 | 0.49638 | 2019-10 | 1.7484 | 2022-10 | 3.327 | 2018
2013-11 | 1.0088 |  | 2016-11 | 0.49469 | 2019-11 | 1.7451 | 2022-11 | 3.76 | 2019
2013-12 | 1.0086 |  | 2016-12 | 0.50006 | 2019-12 | 1.7497 | 2022-12 | 4.1395 | 2020
2014-01 | 1.0042 |  | 2017-01 | 0.50151 | 2020-01 | 1.7467 | 2023-01 | 4.3029 | 2021 | 0.8736%
2014-02 | 0.99183 |  | 2017-02 | 0.48941 | 2020-02 | 1.7477 | 2023-02 | 4.5058 | 2022 | 0.9625%
2014-03 | 0.98941 |  | 2017-03 | 0.49456 | 2020-03 | 0.95288 | 2023-03 | 4.5
2014-04 | 0.99413 |  | 2017-04 | 0.50745 | 2020-04 | 0.18235 | 2023-04 | 4.5
2014-05 | 0.99464 |  | 2017-05 | 0.48957 | 2020-05 | 0.21357 | 2023-05 | 4.5
2014-06 | 1.0071 |  | 2017-06 | 0.4935 | 2020-06 | 0.2344 | 2023-06 | 4.6932
2014-07 | 1.0018 |  | 2017-07 | 0.67283 | 2020-07 | 0.24455 | 2023-07 | 4.913
2014-08 | 0.9994 |  | 2017-08 | 0.74463 | 2020-08 | 0.236 | 2023-08 | 5.0059
2014-09 | 1.0012 |  | 2017-09 | 0.97201 | 2020-09 | 0.23571 | 2023-09 | 5.0075
2014-10 | 1.0089 |  | 2017-10 | 0.98601 | 2020-10 | 0.22667 | 2023-10 | 5.0275
2014-11 | 1.0092 |  | 2017-11 | 0.99111 | 2020-11 | 0.2085 | 2023-11 | 5.0324
2014-12 | 1.0181 |  | 2017-12 | 0.99669 | 2020-12 | 0.20333 | 2023-12 | 5.0347
[7 empty] | 10 year average | 1.337%
[7 empty] | Plus 0.75% | 2.087%
Average 2012-2017 | 1.006%

## BofC Bonds (hidden)
Selected Bond Yields
Monthly series: 2013-04 - 2024-04
V122543 = Government of Canada benchmark bond yields - 10 year
Summary | Date | V122543
Low | 2020-07-01 | 0.48
High | 2023-10-01 | 4.11 | Canadian Bond Yields: 10-Year Lookup - Bank of Canada
Average |  | 1.599%
Average +0.75% Risk |  | 2.349%
Date | V122543
2024-04 | 3.79
2024-03 | 3.44
2024-02 | 3.52
2024-01 | 3.35
2023-12 | 3.06
2023-11 | 3.51
2023-10 | 4.11
2023-09 | 4.09
2023-08 | 3.57
2023-07 | 3.45
2023-06 | 3.22
2023-05 | 3.18
2023-04 | 2.85
2023-03 | 2.93
2023-02 | 3.37
2023-01 | 2.79
2022-12 | 3.29
2022-11 | 2.96
2022-10 | 3.28
2022-09 | 3.08
2022-08 | 3.11
2022-07 | 2.77
2022-06 | 3.29
2022-05 | 2.76
2022-04 | 2.8
2022-03 | 2.43
2022-02 | 1.97
2022-01 | 1.84
2021-12 | 1.47
2021-11 | 1.77
2021-10 | 1.6
2021-09 | 1.51
2021-08 | 1.25
2021-07 | 1.17
2021-06 | 1.39
2021-05 | 1.45
2021-04 | 1.53
2021-03 | 1.55
2021-02 | 1.31
2021-01 | 0.8
2020-12 | 0.7
2020-11 | 0.7
2020-10 | 0.59
2020-09 | 0.57
2020-08 | 0.61
2020-07 | 0.48
2020-06 | 0.54
2020-05 | 0.54
2020-04 | 0.56
2020-03 | 0.88
2020-02 | 1.21
2020-01 | 1.31
2019-12 | 1.61
2019-11 | 1.47
2019-10 | 1.45
2019-09 | 1.39
2019-08 | 1.13
2019-07 | 1.49
2019-06 | 1.5
2019-05 | 1.57
2019-04 | 1.67
2019-03 | 1.54
2019-02 | 1.91
2019-01 | 1.92
2018-12 | 1.98
2018-11 | 2.33
2018-10 | 2.49
2018-09 | 2.42
2018-08 | 2.32
2018-07 | 2.28
2018-06 | 2.06
2018-05 | 2.25
2018-04 | 2.37
2018-03 | 2.11
2018-02 | 2.23
2018-01 | 2.29
2017-12 | 1.98
2017-11 | 1.88
2017-10 | 2.04
2017-09 | 2.13
2017-08 | 1.84
2017-07 | 1.96
2017-06 | 1.61
2017-05 | 1.41
2017-04 | 1.48
2017-03 | 1.59
2017-02 | 1.71
2017-01 | 1.82
2016-12 | 1.73
2016-11 | 1.58
2016-10 | 1.15
2016-09 | 0.98
2016-08 | 1.02
2016-07 | 1.07
2016-06 | 1.12
2016-05 | 1.38
2016-04 | 1.5
2016-03 | 1.22
2016-02 | 1.15
2016-01 | 1.24
2015-12 | 1.4
2015-11 | 1.59
2015-10 | 1.47
2015-09 | 1.45
2015-08 | 1.45
2015-07 | 1.52
2015-06 | 1.77
2015-05 | 1.67
2015-04 | 1.59
2015-03 | 1.33
2015-02 | 1.32
2015-01 | 1.35
2014-12 | 1.79
2014-11 | 1.93
2014-10 | 2.05
2014-09 | 2.2
2014-08 | 2
2014-07 | 2.16
2014-06 | 2.26
2014-05 | 2.22
10 year average | 1.599%
0.75 % Risk Add | 2.349%

## Non-Res Construction (hidden)
Statscan
Table 18-10-0289-01
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=1810028901&pickMembers%5B0%5D=2.7&pickMembers%5B1%5D=3.1&cubeTimeFrame.startMonth=10&cubeTimeFrame.startYear=2001&cubeTimeFrame.endMonth=10&cubeTimeFrame.endYear=2025&referencePeriods=20011001%2C20251001
Building construction price indexes, by type of building (statcan.gc.ca)
Stats Can Non-Res Construction | [5 empty] | Stats Can Non-Res Buildings - Division Composite
Year | Canada Index value as at Q4 | Halifax Index value as at Q4 | Canada Percentage change | Halifax Percentage change |  | Year | Canada Index value as at Q4 | Halifax Index value as at Q4 | Canada Percentage change | Halifax Percentage change
Q4 2001 | 61.1 | 63.9 |  |  |  | Q4 2001 | 43.5 | 47.8
Q4 2002 | 62.6 | 65.5 | 2.455% | 2.504% |  | Q4 2002 | 44.6 | 48.9 | 2.529% | 2.301%
Q4 2003 | 64.4 | 67.4 | 2.875% | 2.901% |  | Q4 2003 | 45.9 | 50.3 | 2.915% | 2.863%
Q4 2004 | 70 | 71.8 | 8.696% | 6.528% |  | Q4 2004 | 49.8 | 53.7 | 8.497% | 6.759%
Q4 2005 | 73.5 | 74.8 | 5% | 4.178% |  | Q4 2005 | 52.4 | 55.9 | 5.221% | 4.097%
Q4 2006 | 80.3 | 78.5 | 9.252% | 4.947% |  | Q4 2006 | 57.2 | 58.7 | 9.16% | 5.009%
Q4 2007 | 86.8 | 82.8 | 8.095% | 5.478% |  | Q4 2007 | 61.9 | 61.9 | 8.217% | 5.451%
Q4 2008 | 94 | 88.4 | 8.295% | 6.763% |  | Q4 2008 | 66.9 | 66 | 8.078% | 6.624%
Q4 2009 | 86.8 | 88 | -7.66% | -0.4525% |  | Q4 2009 | 61.9 | 65.7 | -7.474% | -0.4545%
Q4 2010 | 88.3 | 89.4 | 1.728% | 1.591% |  | Q4 2010 | 62.9 | 66.8 | 1.616% | 1.674%
Q4 2011 | 92 | 91.9 | 4.19% | 2.796% |  | Q4 2011 | 65.5 | 68.6 | 4.134% | 2.695%
Q4 2012 | 93.9 | 93.8 | 2.065% | 2.067% |  | Q4 2012 | 66.9 | 70.1 | 2.137% | 2.187%
Q4 2013 | 94.6 | 94.5 | 0.7455% | 0.7463% |  | Q4 2013 | 67.4 | 70.6 | 0.7474% | 0.7133%
Q4 2014 | 96 | 96.4 | 1.48% | 2.011% |  | Q4 2014 | 68.4 | 72 | 1.484% | 1.983%
Q4 2015 | 96.6 | 98 | 0.625% | 1.66% |  | Q4 2015 | 68.8 | 73.2 | 0.5848% | 1.667%
Q4 2016 | 98.2 | 98.3 | 1.656% | 0.3061% |  | Q4 2016 | 69.9 | 73.4 | 1.599% | 0.2732%
Q4 2017 | 100.9 | 101.1 | 2.749% | 2.848% |  | Q4 2017 | 71.9 | 79.3 | 2.861% | 8.038%
Q4 2018 | 105.8 | 105 | 4.856% | 3.858% |  | Q4 2018 | 75.3 | 78.4 | 4.729% | -1.135%
Q4 2019 | 108.1 | 106.2 | 2.174% | 1.143% |  | Q4 2019 | 77 | 79.3 | 2.258% | 1.148%
Q4 2020 | 109.4 | 108.7 | 1.203% | 2.354% |  | Q4 2020 | 77.9 | 81.2 | 1.169% | 2.396%
Q4 2021 | 121.9 | 120.4 | 11.43% | 10.76% |  | Q4 2021 | 86.8 | 90 | 11.42% | 10.84%
Q4 2022 | 135.4 | 129.6 | 11.07% | 7.641% |  | Q4 2022 | 96.5 | 96.8 | 11.18% | 7.556%
Q4 2023 | 142.7 | 135.4 | 5.391% | 4.475% |  | Q4 2023 | 101.7 | 101.1 | 5.389% | 4.442%
|  |  | Canada | Halifax | Combined | Q4 2024 | 105.6 | 103 | 3.835% | 1.879%
[9 empty] | Canada | Halifax | Combined
Twenty year average |  |  | 4.152% | 3.585% | 3.869%
Five year average |  |  | 6.254% | 5.275% | 5.765% | Twenty-year average |  |  | 3.917% | 3.354% | 3.636%
[6 empty] | Five-year average |  |  | 6.598% | 5.422% | 6.01%
Average of 5 and 20 |  |  | 5.203% | 4.43% | 4.817%
[6 empty] | Average of 5 and 20 |  |  | 5.258% | 4.388% | 4.823%
Note:
- StatsCan publishes data quarterly | [5 empty] | Note:
- Used averages of the 4th quarter indexes | [5 empty] | - StatsCan publishes data quarterly
- ENR no longer publishes construction inflation rates for Toronto & Montreal, as previously utilized

## CPI (hidden)
Year | Annual Average Index | Percentage change
1980 | 45.2 |  | Data Link
1981 | 50.6 | 11.95% | Consumer Price Index, annual average, not seasonally adjusted (statcan.gc.ca)
1982 | 55.4 | 9.486%
1983 | 59 | 6.498%
1984 | 61.6 | 4.407%
1985 | 64.4 | 4.545%
1986 | 66.6 | 3.416%
1987 | 68.9 | 3.453%
1988 | 71.5 | 3.774%
1989 | 74.9 | 4.755%
1990 | 78.7 | 5.073%
1991 | 83.3 | 5.845%
1992 | 84 | 0.8403%
1993 | 84.8 | 0.9524%
1994 | 85.7 | 1.061%
1995 | 86.8 | 1.284%
1996 | 88.3 | 1.728%
1997 | 90 | 1.925%
1998 | 90.7 | 0.7778%
1999 | 92.2 | 1.654%
2000 | 95.1 | 3.145%
2001 | 97 | 1.998%
2002 | 100 | 3.093%
2003 | 103.2 | 3.2%
2004 | 105 | 1.744%
2005 | 107.6 | 2.476%
2006 | 109.8 | 2.045%
2007 | 112 | 2.004%
2008 | 115.2 | 2.857%
2009 | 115.3 | 0.08681%
2010 | 117.6 | 1.995%
2011 | 121.7 | 3.486%
2012 | 123.8 | 1.726%
2013 | 125.2 | 1.131%
2014 | 127.5 | 1.837%
2015 | 128.2 | 0.549%
2016 | 129.8 | 1.248%
2017 | 131.2 | 1.079%
2018 | 134 | 2.134%
2019 | 136 | 1.493%
2020 | 136.7 | 0.5147%
2021 | 142 | 3.877%
2022 | 152.4 | 7.324%
2023 | 158.9 | 4.265%
2024 | 163.1 | 2.643%
Twenty year average |  | 2.194%
Five year average |  | 3.495%
Average of 5 and 20 |  | 2.844%

## Financial Assumptions (hidden)
Financial Assumptions
Construction Period Interest | 2.087%
Data Source: Canadian Overnight Repo Rate Average (CORRA) + 0.75% risk premium - 10 year average, updated December 31, 2021 - Formerly bankers' acceptance V122504
Debt Financing Financing | 2.349%
Data Source: Bank of Canada V122543: Government of Canada benchmark bond yields,10 year + 0.75% risk premium, - 10 year average, updated April 31, 2024
Surplus Financing | 1.599%
Data Source: Bank of Canada V122543: Government of Canada benchmark bond yields,10 year + 0.75% risk premium, - 10 year average, updated April 31, 2024
Inflation on Infrastructure | 4.817%
Data Source: Statistics Canada - see Non-Res Construction tab
Inflation on RDC rate charge | 2.844%
Data Source: Statistics Canada - see CPI tab
Halifax Water - Net HST | 3.857% | reduced from 4.286% to 3.857% starting April 1st, 2025
Benefit to Existing Customers (Water Infrastructure) | Varies
Benefit to Existing Customers (Wastewater Infrastructure) | Varies

## Summary
| Current charge | 2024 Review - Not Adjusted due to Freeze | 2025 Review with Updated Project Costs - Not Adjusted due to Freeze
| 2023 | 2024 | 2025
Water Single Unit Dwelling Rate ($/unit) | 1921.82 | 3383.8319 | 6806.9874
Water Multi Unit Dwelling Rate ($/unit) | 1290.77 | 2272.7229 | 4571.8572
Water ICI Rate ($/m2) | 9.49 | 16.7005 | 33.5952
WW Single Unit Dwelling Rate ($/unit) | 6126.84 | 6627.3339 | 10766.3063
WW Multi Unit Dwelling Rate ($/unit) | 4115.04 | 4451.1944 | 7231.1013
WW ICI Rate ($/m2) | 30.24 | 32.7216 | 53.1573
W Increase compared to previous |  | 76.07% | 101.2%
W Increase compared to current |  |  | 254.2%
WW Increase compared to previous |  | 8.169% | 62.45%
WW Increase compared to current |  |  | 75.72%

## Wastewater - Financial Model
Wastewater Regional Development Charge Financial Model
Actuals 2014 to 2018
Estimated April 1, 2019 to March 31, 2020
Financial Model Period April 1, 2020 to March 31, 2040 | [11 empty] | Debt Financing
|  |  |  | COLLECTED | COLLECTED | SPENT | SPENT | CUMULATIVE |  |  |  | 2.349%
|  |  | RDC Annual | Cash | Cumulative |  | Cumulative |  | Yearly | Cumulative | Total
Year | Units & Sq.ft. | Type | Adj. Factor | In-Density | Cash In | Total Cost | Cash Out | Net Cash | Net Finance | Finance | Cumulative Cost | Surplus Financing
2014 |  |  |  | 5725274.66 | [7 empty] | 1.599%
2014 |  |  |  | 5725274.66 | 5725274.66 |  | 0 | 5725274.66 |  | 0 | 5725274.66
2015 |  |  |  | 4400269.16
2015 |  |  |  | 4400269.16 | 10125543.82 | 6037557.03 | 6037557.03 | 4087986.79 |  | 0 | 4087986.79
2016 |  |  |  | 8785828.63
2016 |  |  |  | 8785828.63 | 18911372.45 |  | 6037557.03 | 12873815.42 |  | 0 | 12873815.42
2017 |  |  |  | 10355906.56
2017 |  |  |  | 10355906.56 | 29267279.01 |  | 6037557.03 | 23229721.98 |  | 0 | 23229721.98
2018 |  |  |  | 12773573.12
2018 |  |  |  | 12773573.12 | 42040852.13 |  | 6037557.03 | 36003295.1 |  | 0 | 36003295.1
2019 |  |  |  | 11339531.77
2019 |  |  |  | 11339531.77 | 53380383.9 | 11643615.64 | 17681172.67 | 35699211.23 | 528825.26 | 528825.26 | 36228036.49
2020 |  |  |  | 14277403.9
2020 |  |  |  | 14277403.9 | 67657787.8 | 2371117.81 | 20052290.48 | 47605497.32 | 228984.48 | 757809.74 | 48363307.06
2021 |  |  |  | 18405652.07
2021 |  |  |  | 18405652.07 | 86063439.87 | 2978835.34 | 23031125.82 | 63032314.05 | 322296.9 | 1080106.64 | 64112420.69
2022 |  |  |  | 19755957.34
2022 |  |  |  | 19755957.34 | 105819397.21 | 0 | 23031125.82 | 82788271.39 | 1295538.85 | 2375645.49 | 85163916.88
2023 |  |  |  | 13529600.95
2023 |  |  |  | 13529600.95 | 119348998.16 | 7846211.11 | 30877336.93 | 88471661.23 | 1524243.2 | 3899888.69 | 92371549.92
2024 |  |  |  | 23668052.18
2024 |  |  |  | 23668052.18 | 143017050.34 | 299303.34 | 31176640.27 | 111840410.07 | 2092055.72 | 5991944.41 | 117832354.48
2025 | 499.4 | SUD / TH | 1 | 5376693.3758
2025 | 1421.6 | MUD | 1 | 10279733.55
2025 | 1844778.6 | Non-Res | 1 | 9110391.1722
2025 |  |  |  | 24766818.098 | 167783868.438 | 6795306.0731 | 37971946.3431 | 129811922.0949 | 2075692.6343 | 8163448.2354 | 137975370.3303
2026 | 540.6 | SUD / TH | 1.0284 | 5985793.5383
2026 | 1539 | MUD | 1.0284 | 11445164.0658
2026 | 1997093.8 | Non-Res | 1.0284 | 10143088.0543
2026 |  |  |  | 27574045.6584 | 195357914.0965 | 34655110.6642 | 72627057.0073 | 122730857.0891 | 1962466.4049 | 10256448.1776 | 132987305.2667
2027 | 540.6 | SUD / TH | 1.0577 | 6156029.5066
2027 | 1539 | MUD | 1.0577 | 11770664.5318
2027 | 1997093.8 | Non-Res | 1.0577 | 10431557.4786
2027 |  |  |  | 28358251.517 | 223716165.6134 | 34655110.6642 | 107282167.6715 | 116433997.9419 | 1861779.6271 | 12282228.411 | 128716226.3529
2028 | 540.6 | SUD / TH | 1.0878 | 6331106.9857
2028 | 1539 | MUD | 1.0878 | 12105422.2311
2028 | 1997093.8 | Non-Res | 1.0878 | 10728230.9733
2028 |  |  |  | 29164760.1901 | 252880925.8035 | 34655110.6642 | 141937278.3358 | 110943647.4678 | 1773988.923 | 14252610.1663 | 125196257.6341
2029 | 540.6 | SUD / TH | 1.1187 | 6511163.6684
2029 | 1539 | MUD | 1.1187 | 12449700.4394
2029 | 1997093.8 | Non-Res | 1.1187 | 11033341.8621
2029 |  |  |  | 29994205.9699 | 282875131.7734 | 34655110.6642 | 176592389 | 106282742.7735 | 1699461.0569 | 16179970.4598 | 122462713.2333
2030 | 540.6 | SUD / TH | 1.1505 | 6696341.1631
2030 | 1539 | MUD | 1.1505 | 12803769.9199
2030 | 1997093.8 | Non-Res | 1.1505 | 11347130.1047
2030 |  |  |  | 30847241.1877 | 313722372.9611 | 34655110.6642 | 211247499.6642 | 102474873.2969 | 1638573.224 | 18077261.4115 | 120552134.7084
2031 | 565 | SUD / TH | 1.1832 | 7197620.3936
2031 | 1607.8 | MUD | 1.1832 | 13756572.001
2031 | 2086443.6 | Non-Res | 1.1832 | 12191950.2056
2031 |  |  |  | 33146142.6002 | 346868515.5613 | 42783774.1108 | 254031273.775 | 92837241.7864 | 1484467.4962 | 19850784.3176 | 112688026.104
2032 | 565 | SUD / TH | 1.2169 | 7402320.7176
2032 | 1607.8 | MUD | 1.2169 | 14147808.9087
2032 | 2086443.6 | Non-Res | 1.2169 | 12538689.2695
2032 |  |  |  | 34088818.8958 | 380957334.4571 | 42783774.1108 | 296815047.8857 | 84142286.5714 | 1345435.1623 | 21513633.5211 | 105655920.0925
2033 | 565 | SUD / TH | 1.2515 | 7612842.7188
2033 | 1607.8 | MUD | 1.2515 | 14550172.594
2033 | 2086443.6 | Non-Res | 1.2515 | 12895289.5923
2033 |  |  |  | 35058304.9051 | 416015639.3622 | 42783774.1108 | 339598821.9965 | 76416817.3657 | 1221904.9097 | 23079541.4308 | 99496358.7965
2034 | 565 | SUD / TH | 1.2871 | 7829351.9657
2034 | 1607.8 | MUD | 1.2871 | 14963979.5026
2034 | 2086443.6 | Non-Res | 1.2871 | 13262031.6283
2034 |  |  |  | 36055363.0966 | 452071002.4589 | 42783774.1108 | 382382596.1073 | 69688406.3516 | 1114317.6176 | 24562900.9159 | 94251307.2675
2035 | 565 | SUD / TH | 1.3237 | 8052018.7356
2035 | 1607.8 | MUD | 1.3237 | 15389555.0797
2035 | 2086443.6 | Non-Res | 1.3237 | 13639203.8078
2035 |  |  |  | 37080777.6231 | 489151780.082 | 42783774.1108 | 425166370.218 | 63985409.864 | 1023126.7037 | 25978788.4052 | 89964198.2692
2036 | 604.8 | SUD / TH | 1.3613 | 8864353.5862
2036 | 1721.4 | MUD | 1.3613 | 16945516.0173
2036 | 2233741 | Non-Res | 1.3613 | 15017379.1208
2036 |  |  |  | 40827248.7243 | 529979028.8063 | 65607541.2767 | 490773911.4947 | 39205117.3116 | 626889.8258 | 27021079.0576 | 66226196.3692
2037 | 604.8 | SUD / TH | 1.4001 | 9116455.8022
2037 | 1721.4 | MUD | 1.4001 | 17427446.4928
2037 | 2233741 | Non-Res | 1.4001 | 15444473.383
2037 |  |  |  | 41988375.678 | 571967404.4843 | 65607541.2767 | 556381452.7714 | 15585951.7129 | 249219.3679 | 27702365.4797 | 43288317.1925
2038 | 604.8 | SUD / TH | 1.4399 | 9375727.8052
2038 | 1721.4 | MUD | 1.4399 | 17923083.0711
2038 | 2233741 | Non-Res | 1.4399 | 15883714.206
2038 |  |  |  | 43182525.0823 | 615149929.5666 | 65607541.2767 | 621988994.0481 | -6839064.4815 | -109356.6411 | 28035969.6626 | 21196905.1811
2039 | 604.8 | SUD / TH | 1.4808 | 9642373.504
2039 | 1721.4 | MUD | 1.4808 | 18432815.5536
2039 | 2233741 | Non-Res | 1.4808 | 16335447.0381
2039 |  |  |  | 44410636.0956 | 659560565.6622 | 65607541.2767 | 687596535.3248 | -28035969.6626 | -448295.1549 | 28035969.6626 | 3.3528e-08
Total |  |  |  | 659560565.6622 |  | 687596535.3248 |  |  |  | Inflation Adjustment | -86817235.6346
[6 empty] | 0 | Must be zero
[6 empty] | 0 | Must be zero

## Water - Financial Model
Water Regional Development Chage Financial Model
Actuals 2014 to 2018
Estimated April 1, 2019 to March 31, 2020 | [11 empty] | Debt Financing
Financial Model Period April 1, 2020 to March 31, 2040 | [11 empty] | 2.349%
|  |  |  | COLLECTED | COLLECTED | SPENT | SPENT | CUMULATIVE
|  |  | RDC Annual | Cash | Cumulative |  | Cumulative |  | Yearly | Cumulative | Total | Surplus Financing
Year | Units & Sq.ft. | Type | Adj. Factor | In-Density | Cash In | Total Cost | Cash Out | Net Cash | Net Finance | Finance | Cumulative Cost | 1.599%
2014 |  |  |  | 135518.26
2014 |  |  |  | 135518.26 | 135518.26 |  | 0 | 135518.26 |  | 0 | 135518.26
2015 |  |  |  | 229939.19
2015 |  |  |  | 229939.19 | 365457.45 |  | 0 | 365457.45 |  | 0 | 365457.45
2016 |  |  |  | 444849.65
2016 |  |  |  | 444849.65 | 810307.1 |  | 0 | 810307.1 |  | 0 | 810307.1
2017 |  |  |  | 489377.06
2017 |  |  |  | 489377.06 | 1299684.16 |  | 0 | 1299684.16 |  | 0 | 1299684.16
2018 |  |  |  | 607340.12
2018 |  |  |  | 607340.12 | 1907024.28 |  | 0 | 1907024.28 |  | 0 | 1907024.28
2019 |  |  |  | 496110.93
2019 |  |  |  | 496110.93 | 2403135.21 |  | 0 | 2403135.21 | 45032.42 | 45032.42 | 2448167.63
2020 |  |  |  | 654208.16
2020 |  |  |  | 654208.16 | 3057343.37 |  | 0 | 3057343.37 | 22907.95 | 67940.37 | 3125283.74
2021 |  |  |  | 3582195.66
2021 |  |  |  | 3582195.66 | 6639539.03 | 3729740.08 | 3729740.08 | 2909798.95 | 26309.48 | 94249.85 | 3004048.8
2022 |  |  |  | 5245742.52
2022 |  |  |  | 5245742.52 | 11885281.55 | 2526845.39 | 6256585.47 | 5628696.08 | 111944.69 | 206194.54 | 5834890.62
2023 |  |  |  | 4317684.03
2023 |  |  |  | 4317684.03 | 16202965.58 | 9579777.29 | 15836362.76 | 366602.82 | 86111.49 | 292306.03 | 658908.85
2024 |  |  |  | 9311425.32
2024 |  |  |  | 9311425.32 | 25514390.9 | 1802731 | 17639093.76 | 7875297.14 | -218218.05 | 74087.98 | 7949385.12
2025 | 499.4 | SUD / TH | 1 | 3399409.5157
2025 | 1421.6 | MUD | 1 | 6499352.2238
2025 | 1844778.6 | Non-Res | 1 | 5757726.2598
2025 |  |  |  | 15656487.9992 | 41170878.8992 | 15635750.4465 | 33274844.2065 | 7896034.6927 | 126257.5947 | 201530.2415 | 8097564.9343
2026 | 540.6 | SUD / TH | 1.0284 | 3784512.5416
2026 | 1539 | MUD | 1.0284 | 7236194.6115
2026 | 1997093.8 | Non-Res | 1.0284 | 6410386.0462
2026 |  |  |  | 17431093.1993 | 58601972.0985 | 18864820.5328 | 52139664.7393 | 6462307.3593 | 103332.2947 | 308085.0048 | 6770392.364
2027 | 540.6 | SUD / TH | 1.0577 | 3892144.0783
2027 | 1539 | MUD | 1.0577 | 7441991.9863
2027 | 1997093.8 | Non-Res | 1.0577 | 6592697.4253
2027 |  |  |  | 17926833.4899 | 76528805.5884 | 18864820.5328 | 71004485.272 | 5524320.3164 | 88333.8819 | 401345.1659 | 5925665.4822
2028 | 540.6 | SUD / TH | 1.0878 | 4002836.6559
2028 | 1539 | MUD | 1.0878 | 7653642.2384
2028 | 1997093.8 | Non-Res | 1.0878 | 6780193.7401
2028 |  |  |  | 18436672.6343 | 94965478.2228 | 18864820.5328 | 89869305.8048 | 5096172.418 | 81487.797 | 489250.472 | 5585422.89
2029 | 540.6 | SUD / TH | 1.1187 | 4116677.3304
2029 | 1539 | MUD | 1.1187 | 7871311.8236
2029 | 1997093.8 | Non-Res | 1.1187 | 6973022.4501
2029 |  |  |  | 18961011.6041 | 113926489.8268 | 18864820.5328 | 108734126.3375 | 5192363.4893 | 83025.8922 | 580099.4793 | 5772462.9685
2030 | 540.6 | SUD / TH | 1.1505 | 4233755.6336
2030 | 1539 | MUD | 1.1505 | 8095171.9319
2030 | 1997093.8 | Non-Res | 1.1505 | 7171335.2086
2030 |  |  |  | 19500262.7741 | 133426752.6009 | 18864820.5328 | 127598946.8703 | 5827805.7306 | 93186.6136 | 682561.8836 | 6510367.6141
2031 | 565 | SUD / TH | 1.1832 | 4550688.973
2031 | 1607.8 | MUD | 1.1832 | 8697580.1844
2031 | 2086443.6 | Non-Res | 1.1832 | 7705257.714
2031 |  |  |  | 20953526.8714 | 154380279.4722 | 31104949.3813 | 158703896.2516 | -4323616.7793 | -69134.6323 | 624341.4158 | -3699275.3635
2032 | 565 | SUD / TH | 1.2169 | 4680110.5673
2032 | 1607.8 | MUD | 1.2169 | 8944939.3649
2032 | 2086443.6 | Non-Res | 1.2169 | 7924395.2434
2032 |  |  |  | 21549445.1756 | 175929724.6478 | 31104949.3813 | 189808845.6328 | -13879120.985 | -326020.5519 | 312986.6437 | -13566134.3413
2033 | 565 | SUD / TH | 1.2515 | 4813212.9119
2033 | 1607.8 | MUD | 1.2515 | 9199333.4404
2033 | 2086443.6 | Non-Res | 1.2515 | 8149765.0441
2033 |  |  |  | 22162311.3964 | 198092036.0442 | 31104949.3813 | 220913795.0141 | -22821758.9699 | -536083.1182 | -215744.4182 | -23037503.3881
2034 | 565 | SUD / TH | 1.2871 | 4950100.6871
2034 | 1607.8 | MUD | 1.2871 | 9460962.4835
2034 | 2086443.6 | Non-Res | 1.2871 | 8381544.3619
2034 |  |  |  | 22792607.5325 | 220884643.5767 | 31104949.3813 | 252018744.3953 | -31134100.8186 | -731340.0282 | -952152.2828 | -32086253.1015
2035 | 565 | SUD / TH | 1.3237 | 5090881.5506
2035 | 1607.8 | MUD | 1.3237 | 9730032.2565
2035 | 2086443.6 | Non-Res | 1.3237 | 8619915.4836
2035 |  |  |  | 23440829.2907 | 244325472.8674 | 31104949.3813 | 283123693.7766 | -38798220.9092 | -911370.2092 | -1885888.5491 | -40684109.4583
2036 | 604.8 | SUD / TH | 1.3613 | 5604479.5239
2036 | 1721.4 | MUD | 1.3613 | 10713787.1496
2036 | 2233741 | Non-Res | 1.3613 | 9490916.085
2036 |  |  |  | 25809182.7586 | 270134655.626 | 16381365.8223 | 299505059.5988 | -29370403.9728 | -689910.7893 | -2620098.8605 | -31990502.8333
2037 | 604.8 | SUD / TH | 1.4001 | 5763870.9216
2037 | 1721.4 | MUD | 1.4001 | 11018487.2562
2037 | 2233741 | Non-Res | 1.4001 | 9760837.7385
2037 |  |  |  | 26543195.9162 | 296677851.5422 | 16381365.8223 | 315886425.4211 | -19208573.8788 | -451209.4004 | -3132854.3831 | -22341428.262
2038 | 604.8 | SUD / TH | 1.4399 | 5927795.4106
2038 | 1721.4 | MUD | 1.4399 | 11331853.0337
2038 | 2233741 | Non-Res | 1.4399 | 10038435.9638
2038 |  |  |  | 27298084.4081 | 323975935.9503 | 16381365.8223 | 332267791.2433 | -8291855.293 | -194775.6808 | -3401220.8134 | -11693076.1064
2039 | 604.8 | SUD / TH | 1.4808 | 6096381.9121
2039 | 1721.4 | MUD | 1.4808 | 11654130.934
2039 | 2233741 | Non-Res | 1.4808 | 10323929.0826
2039 |  |  |  | 28074441.9287 | 352050377.879 | 16381365.8223 | 348649157.0656 | 3401220.8134 | 79894.6769 | -3401220.8134 | 1.7183e-07
Total |  |  |  | 352050377.879 |  | 348649157.0656 |  |  |  | Inflation Adjustment | 50006114.243
[6 empty] | 0 | Must be zero
[6 empty] | 0.0025001 | Must be zero

## 2025 Water - Phase Costs
Water Infrastructure Program | [8 empty] | escalation from 2025
Regional Development Charge - Water
Phase Costs - 2014 to March 31, 2040
[11 empty] | 2.087% |  |  |  | 23.41%
[7 empty] | Total 2019 | 2025 cost | Infrastructure Escalation | Infrastructure Escalated | Construction Period | Total | Non | Benefit to | Post Period | Post Period | Net Escalated
Year | Item # | Description | Proj No. | Project Status 2025 | Work Order Number and Notes | System | Costs |  | Factor | Costs | Interest | RDC | Eligible % | Existing $ | Benefit % | Benefit $ | Costs
2014 | [6 empty] | 0 |  |  | 0 | 0 | 0 | 0% | 0 |  | 0 | 0
2014 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2015
2015 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2018
2018 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2019 | W32.1-W32.2 | Decommission Miller Lake WSP | - | Completed | 3-2766 Closed 2019-2020, No RDC | System Interconnections Pockwock Transmission WTP Decommissioning | [5 empty] | 786137.96 | 100% | 786137.96 |  | 0 | 0
2019 | [5 empty] | Subtotal | 0 |  |  |  |  | 786137.96 |  | 786137.96 |  | 0 | 0
2020 | W04 | Leiblin Booster Fire Pump | 3-2646 | Completed | 3-2646 Closed 2020-2021, No RDC | Pockwock - Other | [5 empty] | 477717.61 | 100% | 477717.61 |  | 0 | 0
2020 | [5 empty] | Subtotal | 0 |  |  |  |  | 477717.61 |  | 477717.61 |  | 0 | 0
2021 | W08.6 | Cork St: Dublin St to Windsor St - Part of Peninsula Int. | 3553 | Completed | 3-3290 - Closed - 03.31.2022 - Part of Peninsula Int. Looping - Quinpool Rd to Young St | Pockwock - Peninsula | [5 empty] | 876233.87 | 25% | 219058.4675 |  | 0 | 657175.4025
2021 | W12.1 | Lucasville Rd Twinning (Phase 1) | - | Completed | 3-2821 - Closed - Lucasville Rd Twinning (Phase 1) | Pockwock - Other | [5 empty] | 2120873.2 | 0% | 0 |  | 0 | 2120873.2
2021 | W22.1 | New Main Street to Caledonia Road Connection | 3566 | Completed | 3-2910 - Closed - 03.31.2022 -Port Wallace Transmission main - Caledonia Road | Lake Major | [5 empty] | 2084523.63 | 95.24% | 1985260.6 |  | 0 | 99263.03
2021 | W28 | Tacoma PRV Chamber | 3568 | Completed | 3-2910 - Closed, PRV cost only;separated from W22.1 portion | Lake Major | [5 empty] | 192737.99 | 100% | 192737.99 |  | 0 | 0
2021 | W08.5 | Berlin St: Connaught Ave to Dublin Street - Part of Peninsula Int. | 3553 | Completed | 3-3103 - Closed - 03.31.2022 - Part of Peninsula Int. Looping - Quinpool Rd to Young St | Pockwock - Peninsula | [5 empty] | 1136270 | 25% | 284067.5 |  | 0 | 852428.45
2021 | [5 empty] | Subtotal | 0 |  |  |  |  | 6410638.69 |  | 2681124.5575 |  | 0 | 3729740.0825
2022 | W08.4 | Dublin St: Berlin St to Cork St. - Part of Peninsula Int. Looping W08 | 3553 | Completed | 3-3467, Completed | [6 empty] | 2228378.84 | 25% | 557094.71 |  | 0 | 1671284.13
2022 | W29.1-W29.2 | Burnside to Bedford Connector | 3.657 | Completed | WO#'3-3239 - Burnside Drive Transmission Main Extension, Bedford to Burnside Transmission Main Phase 1 - Road Crossings/Casings Culvert Extension | [6 empty] | 1818907.5609 | 52.96% | 963346.3009 |  | 0 | 855561.26
2022 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 4047286.4009 |  | 1520441.0109 |  | 0 | 2526845.39
2023 | W29.1 | Bedford-Burnside System Interconnection | 3.658 | Completed | 3-3930 - Burnside to Bedford Phase 1 | [6 empty] | 5168697.7253 | 52.96% | 2737342.3153 |  | 0 | 2431355.41
2023 | W06.1 | Chain Control Transmission - Existing Peninsula Low Upsize | 3.549 | Completed | Chain Ctrl Trans-Peninsula Low Upsize-Churchill Drive Corridor | [6 empty] | 9010586 | 26.18% | 2358971.4148 |  | 0 | 6651253.07
2023 | W08.3 | Windsor Street (Young to Cork). - Part of Peninsula Int. Looping W08 | 3553 | Completed | 3-3785 - Peninsula Intermediate Looping - Quinpool Road to Young St (Windsor St 2023) | [6 empty] | 679021 | 28.16% | 191212.3136 |  | 0 | 487820.38
2023 | NEW | Infrastructure Master Plan Update | 4.169 | Completed | 3-3899 | [6 empty] | 18696.85 | 50% | 9348.425 |  | 0 | 9348.43
2023 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 14877001.5753 |  | 5296874.4687 |  | 0 | 9579777.29
2024 | W29.3 | New Orchard Control Chamber - Water Trans Strat - Bedford Burnside Con | 3.595 | Completed | WO#3-3662 | [6 empty] | 275000 | 50% | 137500 |  | 0 | 137500
2024 | W08.2 | Peninsula Intermediate Looping - Quinpool Rd to Young St | 3.553 | Completed | 1665231 for 3-3724 Peninsula TM - Connaught to Quinpool (Newton Ave.) | [6 empty] | 2723000 | 25% | 680750 |  | 0 | 1665231
2024
2024 | [5 empty] | Subtotal | 0 |  |  | 0 | 0 | 2998000 |  | 818250 |  | 0 | 1802731
2021-2026 | W14.1 | Cobequid High Looping | 3574 | Completed | 3-3298 Active, Cobequid Loop - Windgate Drive Extension close in 2023 | Pockwock - Other | [5 empty] | 1476461.04 | 25% | 369115.26 | 23.41% | 259206.3135 | 848139.4665
2021-2026 | W38 | Transmission Main Risk Assessment and Prioritization Framework | - | Completed | 3-3225 Active - 3-2318 closed intangible asses for $11,730.79 | Studies | [5 empty] | 42077.18 | 50% | 21038.59 | 23.41% | 4924.6906 | 16113.8994
2021-2026 | W30.3 | Robie Emergency Booster | - | Completed | 3-3424 Open, nothing against it, $25,000 in budget | Studies | [5 empty] | 1306.7 | 50% | 653.35 | 23.41% | 152.9355 | 500.4145
2021-2026 | W25 | New Woodside Industrial Park Feed | 3.578 | Completed | WO#3-3854 Related to Southdale, Development Drive | Lake Major | - |  |  |  |  | 1649000 | 95% | 1566550 | 23.41% | 19299.8076 | 63150.1924
2021-2026 | W05.3 | Herring Cove Road Looping - McIntosh St | 3.549 | Completed | Find more information |  | - |  |  |  |  | 2727000 | 100% | 2727000 | 0% | 0 | 0
2021-2026 | W36 | New Hydraulic Water Model (InfoWater) | 3398 / 4144 | Active | 3-2990 Active, to close in 2023 (3-3224 - closed 20/21, no charges) | Studies | [5 empty] | 258944.94 | 50% | 129472.47 | 23.41% | 30306.777 | 99165.693
2021-2026 | W29.1-W29.2 | Bedford to Burnside Transmission Main Phase 2 - Rock Trench Preparations | 3.550 | Completed | 3-3550 |  | - |  |  |  |  | 420000 | 53% | 222600 | 23.41% | 46207.1805 | 151192.8195
2021-2026 | W29.1-W29.2 | Bedford to Burnside Tranmission Main Phase 1 Akerley Boulebard Connection | 3.658 | Completed | Burnside Dr WM 2023 Extension (23/24) WO#3930 | [6 empty] | 5173097 | 53% | 2741741.41 | 23.41% | 569129.1109 | 1862226.4791
2021-2026 | W29.1-W29.2 | Bedford-Burnside System Interconnection -BEDFORD/BURNSIDE MAIN PH 2 - ROCK TRENCH | 3.550 | Completed | 3-3840 |  | - |  |  |  |  | 640000 | 53% | 339200 | 23.41% | 70410.9416 | 230389.0584
2021-2026 | W06.2 | Transmission Main Upgrades - Churchill Drive Corridor | 3552 | Active | 3-3121 Chain Control Transmission - Existing Peninsula Intermediate Upsize |  | - | 5406352 | 1.0482 | 5666775.9758 | 118265.6146 | 5785041.5905 | 25% | 1446260.3976 | 23.41% | 1015617.252 | 3323163.9409
2021-2026 | NEW | Integrated Resource Plan Update | 4.1700 | Active | WO#8-0203 | Studies | - | 3170000 | 1.0482 | 3322698.9 | 69344.726 | 3392043.626 | 83% | 2815396.2096 | 23.41% | 134981.0093 | 441666.4072
2021-2026 | W08.1 | Peninsula Intermediate Looping - Quinpool Rd to Young St | 3553 | Active | 8-0320 Peninsula Intermediate Looping - Quinpool Road to Young St Connaught-Chebucto 2025) | Pockwock - Peninsula | - | 2900000 | 1.0482 | 3039693 | 63438.3929 | 3103131.3929 | 25% | 775782.8482 | 23.41% | 544783.2532 | 1782565.2915
2021-2026 | W39 | Tomahawk Lake Supply Study | 3-3682 | Active |  | Studies | - | 470000 | 1.0482 | 492639.9 | 10281.3947 | 502921.2947 | 50% | 251460.6474 | 23.41% | 58861.6389 | 192599.0085
2021-2026 | W35 | Safe Yield Study | 3598 / 4147 | Active | 3-3223 Active, | Studies | - | 118000 | 1.0482 | 123684.06 | 2581.2863 | 126265.3463 | 50% | 63132.6732 | 23.41% | 14778.0285 | 48354.6447
2021-2026 | W27 | Mt Edward Booster Fire Pump | 3646 | Active | 3-3423 Mt Edward Booster Fire Pump Assessment | Studies | - | 125000 | 1.0482 | 131021.25 | 2734.4135 | 133755.6635 | 50% | 66877.8317 | 23.41% | 15654.6912 | 51223.1406
2021-2026 | W23 | Highway 118 Crossing - Shubie Park to Dartmouth Crossing | 3.571 | Active | See M11255 - Active 3-3324 Budget $5,883 in capital | Lake Major | - | 10561000 | 1.0482 | 11069723.37 | 231025.1267 | 11300748.4967 | 95% | 10735711.0719 | 23.41% | 132263.3549 | 432774.07
2021-2026 | W06.2 | Chain Control Transmission - Existing Peninsula Intermediate Upsize | 3.752 | Active | Quinpool Road Transmission Main Upgrades - Quinn St to Beech St (W6.1 and 6.2) TM Upgrades - FUTURE - Crown Drive to Chebucto Rd & Quinn Street to Beech St |  | - | 9910000 | 1.0482 | 10387364.7 | 216784.3013 | 10604149.0013 | 25% | 2651037.2503 | 23.41% | 1861655.8757 | 6091455.8753
2021-2026 | W18 | Chain Lake Backup Supply Study | 3.593 | Completed |  |  |  | 2000 | 1.0482 | 2096.34 | 43.7506 | 2140.0906 | 50% | 1070.0453 | 0% | 0 | 1070.0453
2021-2026 | [5 empty] | Subtotal | 0 | 32662352 |  | 34235697.4958 | 714499.0067 | 47338083.3626 |  | 26924100.0552 |  | 4778232.8608 | 15635750.4465
2026-2031 | NEW | Water Supply Enhancement Program - JDK - Pretreatment & Clarification (new WSP) aka JDK Treatment Plan Replacement | 3.6040 | Active | WO# 3-3362 WSEP Project No. JDK800.10 aka JDK800.90 | Pockwock | - | 336887000 | 1.1541 | 388812478.7303 | 8114516.4311 | 396926995.1614 | 83% | 329449405.9839 | 23.41% | 15795081.7621 | 51682507.4153
2026-2031 | NEW | Water Supply Enhancement Program - JDK - Clearwell & Storage Upgrades | 3.6080 | Active | WO# 3-3363 - WSEP Project No. JDK800.25 | Pockwock | - | 62646000 | 1.1541 | 72301829.8199 | 1508939.1883 | 73810769.0082 | 83% | 61262938.2768 | 23.41% | 2937182.7707 | 9610647.9607
2026-2031 | NEW | Water Supply Enhancement Program - JDK - Low Lift Pump Station | 3.61 | Active | WSEP Project No. JDK800.35 | Pockwock | - | 23675000 | 1.1541 | 27324104.0288 | 570254.0511 | 27894358.0798 | 83% | 23152317.2063 | 23.41% | 1110011.8459 | 3632029.0277
2026-2031 | NEW | Water Supply Enhancement Program - MAJ - Low Lift & Pumping Station | 3.6190 | Active | WO#3-3377 - WSP Project No. MAJ800.20 | Lake Major | - | 69540000 | 1.1541 | 80258424.2518 | 1674993.3141 | 81933417.5659 | 80% | 65546734.0527 | 23.41% | 3835777.3159 | 12550906.1972
2026-2031 | NEW | Water Supply Enhancement Program - MAJ - Filter Upgrades | 3.621 | Active | WO#8-0213 - WSP Project No. MAJ800.45 | Lake Major | - | 27786000 | 1.1541 | 32068745.704 | 669274.7228 | 32738020.4269 | 80% | 26190416.3415 | 23.41% | 1532656.1476 | 5014947.9378
2026-2031 | NEW | Water Efficiency Strategy | 3.644 | Active | WO#8-02060 | Studies | - | 160000 | 1.1541 | 184661.3155 | 3853.8817 | 188515.1972 | 83% | 156467.6136 | 23.41% | 7501.664 | 24545.9195
2026-2031 | NEW | Growth Servicing Strategy | 4.308 | Active | WO#8-0204 | Studies | - | 200000 | 1.1541 | 230826.6444 | 4817.3521 | 235643.9965 | 75% | 176732.9973 | 23.41% | 13789.8235 | 45121.1756
2026-2031 | W01.4 | Brunello Booster Pump Upgrades | - | Future | Specific Development Drive Lakeside Timberlea Water CCC | Pockwock | 236000 |  | 1.4164 | 334272.6919 | 6976.2711 | 341248.963 | 100% | 341248.963 | 0% | 0 | 0
2026-2031 | W07 | Replace High Risk Peninsula Transmission (Robie) (North End Feeder) | 3.554 | Active | WO#3-3126 | Pockwock | - | 28770000 | 1.1541 | 33204412.7944 | 692976.095 | 33897388.8894 | 100% | 33897388.8894 | 0% | 0 | 0
2026-2031 | W10.1 | Young Street Upsize | 3.555 | Future | WO#8-0234 | Pockwock | - | 3010000 | 1.1541 | 3473940.998 | 72501.1486 | 3546442.1466 | 25% | 886610.5366 | 23.41% | 622610.5328 | 2037221.0771
2026-2031 | W10.2 | Robie Street Upsize | 3.686 | Future | WO#8-0233 | Pockwock | - | 5929000 | 1.1541 | 6842855.8727 | 142810.4021 | 6985666.2748 | 25% | 1746416.5687 | 23.41% | 1226397.9565 | 4012851.7495
2026-2031 | W10.4 | Windsor Street Upsize | 3.558 | Active | M12269 - Almon Street between Dublin and Windsor | Pockwock | - | 1538017 | 1.1541 | 1775076.5156 | 37045.8469 | 1812122.3624 | 25% | 453030.5906 | 23.41% | 318134.7455 | 1040957.0264
2026-2031 | W14.2 | Windgate Drive Upsize | 3.574 | Future |  | Pockwock | 882000 |  | 1.4164 | 1249273.3656 | 26072.3351 | 1275345.7008 | 25% | 318836.4252 | 23.41% | 223898.6662 | 732610.6094
2026-2031 | W17 | Pockwock Transmission Loop through Bedford | 3.565 | Future |  | Pockwock | 5069000 |  | 1.4164 | 7179780.828 | 149842.0259 | 7329622.8539 | 100% | 7329622.8539 | 0% | 0 | 0
2026-2031 | W30.1 | Bedford-Burnside Interconnection, Lyle Emergency Booster Upgrades | 3.580 | Future | WO#3-3842 | Pockwock | - | 1431000 | 1.1541 | 1651564.6406 | 34468.154 | 1686032.7946 | 53% | 893597.3811 | 23.41% | 185492.4324 | 606942.9811
2026-2031 | W36 | New Hydraulic Water Model (InfoWater) | 3.398&4.144 | Active | WO# 3-2990 & 3-3410 | Studies | - | 200000 | 1.1541 | 230826.6444 | 4817.3521 | 235643.9965 | 50% | 117821.9982 | 23.41% | 27579.6471 | 90242.3511
2026-2031 | W37 | Comprehensive PRV Study | 3.599 | Future |  | Studies | 50000 |  | 1.4164 | 70820.4856 | 1478.0235 | 72298.5091 | 50% | 36149.2546 | 23.41% | 8461.7788 | 27687.4758
2026-2031 | W40 | Aerotech Storage | 3.379 | Future | WO#3-3358 | Aerotech | - | 4750000 | 1.1541 | 5482132.8041 | 114412.1116 | 5596544.9157 | 25% | 1399136.2289 | 23.41% | 982524.9272 | 3214883.7595
2026-2031 | [5 empty] | Subtotal | 6237000 |  |  | 662676028.1355 | 13830048.7072 | 676506076.8427 |  | 553354872.1626 |  | 28827102.0162 | 94324102.6638
2031-2036 | NEW | Integrated Resource Plan Update | - | Future |  | Studies | - | 3000000 | 1.4602 | 4380622.4498 | 91423.5905 | 4472046.0403 | 83% | 3711798.2134 | 23.41% | 177957.9966 | 582289.8303
2031-2036 | NEW | Water Supply Enhancement Program - JDK - Residual Handling | 3.615 | Active | WSEP Project No. JDK800.70 | Pockwock | - | 37981000 | 1.4602 | 55460140.4215 | 1157453.1306 | 56617593.5521 | 83% | 46992602.6482 | 23.41% | 2253007.5561 | 7371983.3477
2031-2036 | NEW | Water Supply Enhancement Program - JDK - Advanced Treatment of Algae, Taste, & Order | 3.617 | Active | WSEP Project No. JDK800.80 | Pockwock | - | 54043000 | 1.4602 | 78913993.0175 | 1646935.0343 | 80560928.0518 | 83% | 66865570.283 | 23.41% | 3205794.6699 | 10489563.0989
2031-2036 | NEW | Water Supply Enhancement Program - MAJ - Advanced Treatment of Algae, Taste, & Odour | 3.622 | Active | WSP Project No. MAJ800.85 | Lake Major | - | 43868000 | 1.4602 | 64056381.8754 | 1336856.6897 | 65393238.5651 | 80% | 52314590.8521 | 23.41% | 3061435.8409 | 10017211.8721
2031-2036 | W01.1 | Geizer 158 to Lakeside High Looping | 3.562 | Future |  | Pockwock - Other | - | 2250000 | 1.4602 | 3285466.8373 | 68567.6929 | 3354034.5302 | 100% | 3354034.5302 | 0% | 0 | 0
2031-2036 | W03 | Geizer Hill Booster Pump Upgrades | 3.579 | Future | Specific Development Driven | Pockwock - Other | - | 280000 | 1.4602 | 408858.0953 | 8532.8684 | 417390.9638 | 100% | 417390.9638 | 0% | 0 | 0
2031-2036 | W05.1 | Herring Cove Rd Twinning | 3.563 | Future | Specific Development Driven | Pockwock - Other | 3585000 |  | 1.792 | 6424460.7946 | 134078.4968 | 6558539.2913 | 100% | 6558539.2913 | 0% | 0 | 0
2031-2036 | W06.1 | Chain Control Transmission - Existing Peninsula Low Upsize | 3.752 | Future | WO# 8-0229 - Quinpool Road Transmission Main Upgrades - Quinn St to Beech St (W6.1 and 6.2) TM Upgrades - FUTURE - Crown Drive to Chebucto Rd & Quinn Street to Beech St | Pockwock - Other | - | 8910000 | 1.4602 | 13010448.6758 | 271528.0639 | 13281976.7397 | 25% | 3320494.1849 | 23.41% | 2331773.1612 | 7629709.3936
2031-2036 | W10.3 | Almon Street Upsize | 3.556 | Future | Almon Street Upsizing ***, Almon Street Upgrades *** | Pockwock - Other | - | 1160000 | 1.4602 | 1693840.6806 | 35350.455 | 1729191.1356 | 25% | 432297.7839 | 23.41% | 303575.4059 | 993317.9457
2031-2036 | W12.2 | Lucasville Road Twinning (Phase 2) | 3.559 | Future | WO#3-3926 | Pockwock - Other | - | 24981000 | 1.4602 | 36477443.1392 | 761284.2383 | 37238727.3775 | 0% | 0 | 23.41% | 8716801.3976 | 28521925.9799
2031-2036 | W13.1 | New Primary Feed to Sackville High | 3.572 | Future |  | Pockwock - Other | - | 4960000 | 1.4602 | 7242629.1169 | 151153.6697 | 7393782.7866 | 0% | 0 | 23.41% | 1730728.7511 | 5663054.0355
2031-2036 | W13.2 | New Sackville Beaver Bank Valve Chamber | 3.583 | Future |  | Pockwock - Other | 839000 |  | 1.792 | 1503520.9502 | 31378.4822 | 1534899.4325 | 0% | 0 | 23.41% | 359287.6143 | 1175611.8182
2031-2036 | W13.3 | Reconfiguration of Beaver Bank Booster | 3.528 | Future | WO#3-3148 | Pockwock - Other | 100000 |  | 1.792 | 179203.9273 | 3739.986 | 182943.9133 | 100% | 182943.9133 | 0% | 0 | 0
2031-2036 | W13.4 | New Sackville High PRV | - | Future |  | Pockwock - Other | 420000 |  | 1.792 | 752656.4948 | 15707.941 | 768364.4358 | 0% | 0 | 23.41% | 179857.9237 | 588506.5121
2031-2036 | W19.1 & W19.2 | Pockwock Transmission Twinning - 54in | 3.436 | Active | WO#8.0118 | Pockwock | - | 96000000 | 1.4602 | 140179918.3924 | 2925554.8968 | 143105473.2892 | 63.1% | 90299553.6455 | 23.41% | 12360753.0806 | 40445166.5631
2031-2036 | W22.2 | Caledonia Road Twinning | 3.567 | Active | WO#3-3927 | Lake Major | - | 6510000 | 1.4602 | 9505950.716 | 198389.1914 | 9704339.9074 | 95% | 9219122.9121 | 23.41% | 113579.0743 | 371637.9211
2031-2036 | W22.3 | New Breeze Drive Water main | 3.570 | Active |  | Lake Major | - | 7800000 | 1.4602 | 11389618.3694 | 237701.3354 | 11627319.7048 | 95% | 11045953.7195 | 23.41% | 136085.5268 | 445280.4584
2031-2036 | W24 | Windmill Road Upsize | 3.773 | Future |  | Lake Major | - | 21725000 | 1.4602 | 31723007.5737 | 662059.1681 | 32385066.7418 | 25% | 8096266.6854 | 23.41% | 5685496.288 | 18603303.7683
2031-2036 | W31.1-W31.3 | Extension of Fall River to Bennery Lake Airport System | 3.679 | Future | WO3-3560 with Multiple project # - 3.679, 3.575 for Phase 1, 3.576 for Phase 2, 3.577 for Phase 3 | Pockwock - Other | - | 26780000 | 1.4602 | 39104356.4015 | 816107.9181 | 39920464.3196 | 26% | 10379320.7231 | 23.41% | 6914959.2352 | 22626184.3613
2031-2036 | [5 empty] | Subtotal | 4944000 | 340248000 |  | 505692517.9291 | 10553802.8492 | 516246320.7783 |  | 313190480.3498 |  | 47531093.5223 | 155524746.9063
2036-2041 | NEW | Integrated Resource Plan Update | - | Future |  | Studies | - | 3000000 | 1.8475 | 5542356.4291 | 115668.9787 | 5658025.4077 | 83% | 4696161.0884 | 23.41% | 225152.1691 | 736712.1502
2036-2041 | W06.3 | Pepperell Transmission | - | Future | TM Upgrades - FUTURE - Crown Drive to Chebucto Rd & Quinn Street to Beech Street | Pockwock - Peninsula | 2702000 |  | 2.2673 | 6126204.5734 | 127853.8894 | 6254058.4629 | 25% | 1563514.6157 | 23.41% | 1097957.4771 | 3592586.37
2036-2041 | W06.4 | Chain Control Transmission - Existing Peninsula Low Lining | - | Future |  | Pockwock - Peninsula | 2916000 |  | 2.2673 | 6611403.6033 | 137979.9932 | 6749383.5965 | 25% | 1687345.8991 | 23.41% | 1184916.3595 | 3877121.3379
2036-2041 | W06.5 | Chain Control Transmission - Valve Chambers | - | Future |  | Pockwock - Peninsula | 1258000 |  | 2.2673 | 2852244.7644 | 59526.3482 | 2911771.1126 | 25% | 727942.7782 | 23.41% | 511188.1962 | 1672640.1382
2036-2041 | W15 | Lively Booster Pump Upgrades | - | Future |  | Pockwock - Other | 38000 |  | 2.2673 | 86156.8371 | 1798.0932 | 87954.9303 | 100% | 87954.9303 | 0% | 0 | 0
2036-2041 | W26 | Willowdale to Eastern Passage Connection | - | Future |  | Lake Major | 6290000 |  | 2.2673 | 14261223.8219 | 297631.7412 | 14558855.563 | 100% | 14558855.563 | 0% | 0 | 0
2036-2041 | W29.1-W29.2 | Bedford-Burnside System Interconnection | 3.021 | Active | Remaining Pipe work | System Interconnections Pockwock Transmission WTP Decommissioning | - | 106090000 | 1.8475 | 195996197.8529 | 4090440.6492 | 200086638.5021 | 53% | 106045918.4061 | 23.41% | 22012950.9811 | 72027769.1149
2036-2041 | [5 empty] | Subtotal | 13204000 | 109090000 |  | 231475787.882 | 4830899.6931 | 236306687.5751 |  | 129367693.2808 |  | 25032165.183 | 81906829.1113
2041-2046 | NEW | Integrated Resource Plan Update | - | Future |  | Studies | - | 3000000 | 2.3374 | 7012180.3782 | 146344.2045 | 7158524.5827 | 83% | 5941575.4037 | 23.41% | 284862.1597 | 932087.0194
2041-2046 | W01.2 | Gravity Feed to Brunello |  | Future | watermain to supply Brunello by gravity from upstream of Lakeside PRV to the development at St Margarets Bay Road and Greenhead Road + check valve |  | 2328000 |  | 2.8686 | 6678020.5908 | 139370.2897 | 6817390.8805 | 100% | 6817390.8805 | 0% | 0 | 0
2041-2046 | W02 | Geizer 158 Looping - Lacewood drive |  | Future | new 600mm diameter watermain along Lacewood Drive (from Chain Lake Drive to Bicentennial Drive) |  | 2002000 |  | 2.8686 | 5742868.2228 | 119853.6598 | 5862721.8826 | 100% | 5862721.8826 | 0% | 0 | 0
2041-2046 | W20 | Second Geizer 158 feed |  | Future | new 750mm diameter watermain through undeveloped land (from Lacewood Drive to Kearney Control Chamber) (exact alignment TBD) |  | 9612000 |  | 2.8686 | 27572652.0269 | 575441.2478 | 28148093.2747 | 100% | 28148093.2747 | 0% | 0 | 0
2041-2046 | W21 | Extension to Springfiled Lake |  | Future | new 400mm diameter watermain along Evangeline Trail (from Hamilton Drive to Fenerty Road) + along Fenerty Road (from Evangeline Trail to Springfield Lake Road) |  | 3043000 |  | 2.8686 | 8729044.9561 | 182175.1682 | 8911220.1243 | 100% | 8911220.1243 | 0% | 0 | 0
2041-2046 | [5 empty] | Subtotal | 16985000 | 3000000 |  | 55734766.1748 | 1163184.5701 | 56897950.7449 |  | 55681001.5658 |  | 284862.1597 | 932087.0194
Grand Total | [5 empty] | Total 2041 Projects | 24385000 | 1048522369 |  | 1434080031.4424 | 29929250.2562 | 1505993950.7949 |  | 1034417691.4556 |  | 106168593.5823 | 365030522.8904
[6 empty] | Total up to 2040 Projects | 21744200 | 1026704369 |  | 1387784873.866 | 28963070.3176 | 1458732613.2799 |  | 1008544152.7995 |  | 101162160.5457 | 348649157.0681

## 2025 Water - Charge
Water Regional Development Charge Summary
|  |  | 2024 with WSEP | With Updated costs in 2025
Total cost of water infrastructure program to the benefit of the RDC | (A) |  | 447558558.6664 | 1387784873.866
Interest during construction | (B) | Note 1 | 9340547.1194 | 28963070.3176
Total cost of water infrastructure program to the benefit of the RDC plus IDC | (C) = (A) + (B) |  | 456899105.7858 | 1416747944.1836
Less: portion of infrastructure that benefits Halifax Water customers to be deducted | (D) = (C) * Varies% | Note 2 | -232292065.7958 | -1008544152.7995
Less: portion of infrastructure that benefits the post period | (E) = ((C) - (D)) * 23.4% | Note 3 | -52945855.4187 | -101162160.5457
Net regional development charge infrastructure (water) | (F) = (C) - (D) - (E) |  | 190554988.8866 | 307041630.8384
Less: inflation adjustment | (F') = Inflation Adjustment | Note 4 | -13062440.9861 | 50006114.243
Total regional development charge cost to be recovered | (F'') = (F) + (F') |  | 177492547.9005 | 357047745.0815
Residential growth percentage (residential growth / total growth) | (G) |  | 63.23% | 63.23%
Employment growth percentage (employment PE growth / total growth) | (H) |  | 36.77% | 36.77%
Residential benefit of the regional development charge | (I) = (F") * (G) |  | 112221248.7256 | 225746625.8817
Employment benefit of the regional development charge | (J) = (F") * (H) |  | 65271299.1749 | 131301119.1997
Total projected residential growth between April 1, 2019 - March 31, 2040 (people) | (K) | Note 5 | 89369.8 | 89369.8
Total projected employment PE growth between April 1, 2019 - March 31, 2040 (PE) | (L) | Note 6 | 51980.2 | 51980.2
Projected number of residential units | (M) = (K) / 2.04 ppu |  | 43809 | 43809
Projected number of single unit dwellings / townhouses (units) | (N) = (M) * 26% |  | 11390 | 11390
Projected number of multi-unit dwellings (units) | (O) = (M) * 74% |  | 32419 | 32419
Relative density factor | (P) = 3.35 PPU / 2.25 PPU | Note 7 | 1.4889 | 1.4889
Single unit dwelling / townhouse regional development charge | (Q) = (I) / ((N) + ((O)/(P))) | SUD/TH | 3383.8319 | 6806.9874
Multi-unit dwelling regional development charge | (R) = (I) / ((O) + ((N)*(P))) | MUD | 2272.7229 | 4571.8572
Employment benefit regional development charge per worker population equivalent | (S) = (J) / (L) | per worker population equivalent | 1255.6954 | 2525.9833
Employment density (FSWPE) | (T) | sq.ft. per worker population equivalent | 809.3264 | 809.3264
Non-residential regional development charge | (U) = (S) / (T) | per ft2 | 1.5515 | 3.1211
|  | per m2 | 16.7005 | 33.5952
Note 1: Interest during construction 2025 onward 2.09%.
Note 2: Benefit to existing Halifax Water customers, benefit varies based on project.
Note 3: Benefit to population growth beyond March 31, 2040. This benefit would be recovered in subsequent RDC updates.
Note 4: Inflation adjustment, in the absence of escalation factors (Halifax CPI applied to the RDC and non-res construction CPI applied to the infrastructure cost estimates) equals the amount of financing charges. The inflation adjustment within the RDC offsets the financing charges so that a 2019 base charge (year 1) can be calculated.
[6 empty] | Current charge | with WSEP | Revised Project Costs
Note 5: Residential population projection adjusted to project April 1, 2019 - March 31, 2040. RDC payments made from 2014 through 2018 have been inserted into the model. | [5 empty] | 2023 | 2024 | 2025
Note 6: Employment population projection adjusted to project April 1, 2019 - March 31, 2040. RDC payments made from 2014 through 2018 have been inserted into the model. |  |  |  |  | Water Single Unit Dwelling Rate ($/unit) | 1921.82 | 3383.8319 | 6806.9874
Note 7: Relationship factor between a multi-unit dwelling and a single unit dwelling, values are derived from the Halifax Regional Subdivision By-law and Halifax Planning. |  |  |  |  | Water Multi Unit Dwelling Rate ($/unit) | 1290.77 | 2272.7229 | 4571.8572
[5 empty] | Water ICI Rate ($/m2) | 9.49 | 16.7005 | 33.5952
[5 empty] | WW Single Unit Dwelling Rate ($/unit) | 6126.84 | 6627.3339 | 10766.3063
[5 empty] | WW Multi Unit Dwelling Rate ($/unit) | 4115.04 | 4451.1944 | 7231.1013
[5 empty] | WW ICI Rate ($/m2) | 30.24 | 32.7216 | 53.1573
[5 empty] | W Increase compared to previous |  | 76.07% | 101.2%
[5 empty] | W Increase compared to current |  | 76.07% | 254.2%

## 2025 Wastewater - Phase Costs
Wastewater Infrastructure Program | [9 empty] | escalation from 2025
Regional Development Charge - Wastewater
Phase Costs - 2014 to March 31, 2040 | [7 empty] | 2019 | 2025 |  |  | 2.087% |  |  | Non Eligible | 23.41% |  | RDC
[8 empty] | Total | Total | Escalation | Escalated | Construction | Total | Non | Benefit to | Post Period | Post Period | Net Escalated
Year | Item # | Description | Proj No. | Project Status 2025 | WO | Notes | System | Costs | Costs | Factor | Costs | Interest | Project Cost | Eligible% | Existing $ | Benefit % | Benefit $ | Costs
2014 | [7 empty] | 0 |  |  | 0 | 0 | 0 | 0% | 0 |  | 0 | 0
2014 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2015 |  | Lakeside Diversion |  | Completed | 6-0686 | C/O total = $24,580,281.66 - other funding $16M - internal funding $2.5M = remaining $6.038M RDC funding | Halifax | 5914129.1545 |  |  | 5914129.1545 | 123427.8755 | 6037557.03 | 0% | 0 |  | 0 | 6037557.03
2015 | [6 empty] | Subtotal | 5914129.1545 |  |  | 5914129.1545 | 123427.8755 | 6037557.03 |  | 0 |  | 0 | 6037557.03
2016 | [7 empty] | 0 |  |  | 0 | 0 | 0 | 0% | 0 |  | 0 | 0
2016 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2017 | [7 empty] | 0 |  |  | 0 | 0 | 0 | 0% | 0 |  | 0 | 0
2017 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2018 | [7 empty] | 0 |  |  | 0 | 0 | 0 | 0% | 0 |  | 0 | 0
2018 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
2019 | AT2 | Upgrade WWTF to service employment growth flows (Aerotech) |  | Completed | 6-1359 | C/O Total $22,997,613.43 - $14M Build Canada Funding = $8.997M charged to RDC | Aerotech | [5 empty] | 9997348.2556 | 10% | 999734.8256 |  |  | 8997613.43
2019 | WR13.a | Fairview Clayton Park Bridgeview |  | Completed | 6-1641 | Project total $2.56M, 95% RDC $2.41M | [6 empty] | 8491589 | 72% | 126796.7568 |  |  | 2409138.38
2019 | WR13.b | FAIRVIEW/CLAYTON PK/BRIDGEVIEW |  | Completed | 6-1744 | Project total $249k, 95% RDC $237k | [6 empty] | 249330.3474 | 5% | 12466.5174 |  |  | 236863.83
2019 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 18738267.6029 |  | 1138998.0998 |  | 0 | 11643615.64
2020 | D1.01 | Prince Albert Road Sewer Separtion - Canal Street Pocket |  | Completed | 6-2061 | Canal Street Pocket | [6 empty] | 443351.16 | 50% | 221675.58 |  |  | 221675.58
2020 | WR13.d | Fairview CL PK Bridgeview I/I |  | Completed | 6-1844 | [7 empty] | 2262570.7684 | 5% | 113128.5384 |  |  | 2149442.23
2020 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 2705921.9284 |  | 334804.1184 |  | 0 | 2371117.81
2021 | WR13.c | Old Clayton Park Lateral Lining - Top Hat Pilot |  | Completed | 6-2274 | 2021 Lateral Grouting Pilot |  | - |  | - | - | - | 496298 | 5% | 24814.8884 |  |  | 471482.88
2021 | WR3.h | Romans - Federal Avenues - Sewer Separation | 2.677 | Completed | 6-1688 | Upstream of Kempt CSO |  | - |  | - | - | - | 2639318.3789 | 5% | 131965.9189 |  |  | 2507352.46
2021 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 3135616.3789 |  | 156780.8074 |  | 0 | 2978835.34
2023 |  | Infrastructure Master Plan WW Portion |  | Completed | 3-3899 |  |  | - |  | - | - | - | 18696.85 | 50% | 9348.425 |  |  | 9348.43
2023 |  | Younge Street Sewer Separation |  | Completed | 6-2058 |  |  | - |  | - | - | - | 207271.44 | 74.74% | 154918.17 |  |  | 154918.17
2023 | D2b & D5 | Gravity Sewer Albro Lake to Jamieson St | 2.836&2.838 | Completed | 6-0887 | (D2b + D5 Combined) |  | - |  | - | - | - | 8570124.51 | 89.64% | 7681944.51 |  |  | 7681944.51
2023 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 8796092.8 |  | 7846211.105 |  | 0 | 7846211.11
2024 |  | Wet Weather |  |  | 6-2768 | [7 empty] | 898808.82 | 33.3% | 299303.3371 |  |  | 299303.34
2024 | [6 empty] | Subtotal | 0 |  |  | 0 | 0 | 898808.82 |  | 299303.3371 |  | 0 | 299303.34
2021-2026 | NEW | Integrated Resource Plan Update | 4.1700 | Active | 8-0203 |  |  | - | 3170000 | 1.0482 | 3322698.9 | 69344.726 | 3392043.626 | 83% | 2815396.2096 | 23.41% | 134981.0093 | 441666.4072
2021-2026 | D13 | Additional flow monitoring | 4.141 | Completed | 6-1244 | System Constraints Analysis HRM | Dartmouth | - | 60383 | 1.0482 | 63291.6491 | 1320.8967 | 64612.5458 | 90% | 58151.2912 | 23.41% | 1512.4435 | 4948.811
2021-2026 | D26 | SSO Flow Management Plan | 4.140 | Completed | 6-2143 |  | Dartmouth | 555000 |  | 1.1258 | 624836.3588 | 13040.3348 | 637876.6936 | 100% | 637876.6936 | 0% | 0 | 0
2021-2026 | WR1.a | South Park Street - Sewer Separation | 2.674 | Completed | 6-2225 |  |  | - | 3824806 | 1.0482 | 4009046.905 | 83668.8089 | 4092715.7139 | 50% | 2046357.857 | 23.41% | 479009.2542 | 1567348.6028
2021-2026 | WR3.e | Bayers Road Phase 1 - Sewer Separation | 2.675 | Completed | 6-2472 |  |  | - | 1255000 | 1.0482 | 1315453.35 | 27453.5114 | 1342906.8614 | 5% | 67145.3431 | 23.41% | 298628.889 | 977132.6293
2021-2026 | WR3.j | Bayers Road Phase 2 - Sewer Separation | 2.680 | Completed | 6-1861 |  |  | - | 1711359 | 1.0482 | 1793795.163 | 37436.5051 | 1831231.6681 | 5% | 91561.5834 | 23.41% | 407220.1091 | 1332449.9756
2021-2026 | WR3.k | Joseph Howe/Dutch Village Road Catchbasin Disconnections | 2.950 | Completed | 6-2270 |  |  | - | 406099 | 1.0482 | 425660.7888 | 8883.5407 | 434544.3295 | 5% | 21727.2165 | 23.41% | 96631.7874 | 316185.3256
2021-2026 | D8 | 390 Waverley Road Forcemain Upgrades | 2.945 | Active | 6-2482 |  | Dartmouth | - | 13920000 | 1.0482 | 14590526.4 | 304504.286 | 14895030.686 | 100% | 14895030.686 | 23.41% | 0 | 0
2021-2026 | WR3.a | SSP - Bayers Rd Pocket - Engineering Analysis | 2.946 | Active | 6-2269 | Upstream of Kempt CSO |  | - | 750000 | 1.0482 | 786127.5 | 16406.4809 | 802533.9809 | 25% | 200633.4952 | 23.41% | 140892.2207 | 461008.265
2021-2026 | WR9 | WRWIP: Replace Armdale Pumping Station Force mains | 2.578 | Active | 8-0132 |  | Halifax | 3850000 |  | 1.1258 | 4334450.4168 | 90459.9802 | 4424910.397 | 50% | 2212455.1985 | 23.41% | 517889.1419 | 1694566.0566
2021-2026 | [6 empty] | Subtotal | 4405000 | 25097647 |  | 31265887.4316 | 652519.0707 | 31918406.5023 |  | 23046335.5741 |  | 2076764.8551 | 6795306.0731
2026-2031 | NEW | Water Efficiency Strategy | 3.644 | Active | 8-0206 |  |  | - | 160000 | 1.1541 | 184661.3155 | 3853.8817 | 188515.1972 | 83% | 156467.6136 | 23.41% | 7501.664 | 24545.9195
2026-2031 | NEW | Growth Servicing Strategy | 4.308 | Active | 8-0204 |  |  | - | 200000 | 1.1541 | 230826.6444 | 4817.3521 | 235643.9965 | 75% | 176732.9973 | 23.41% | 13789.8235 | 45121.1756
2026-2031 | NEW | Biosolids Processing Facility - Facility Upgrade - Construction & Commissioning | 2.931 | Active |  |  |  | - | 116800000 | 1.1541 | 134802760.3193 | 2813333.6079 | 137616093.9272 | 91.5% | 125918725.9434 | 23.41% | 2738107.3621 | 8959260.6217
2026-2031 | Many | SSO & CSO Manaement Program | 2.1074 | Active | 8-205 | Multiple Projects (D14, D26, EP18, MC17, WR22, WR23) |  | - | 2718610 | 1.1541 | 3137638.1184 | 65482.5075 | 3203120.626 | 100% | 3203120.626 | 0% | 0 | 0
2026-2031 | D1 | LoWSCA: Canal Street Separation | 2.835 | Active | 6-2473 |  | Dartmouth | - | 2310000 | 1.1541 | 2666047.7426 | 55640.4164 | 2721688.159 | 25% | 680422.0398 | 23.41% | 477817.3857 | 1563448.7336
2026-2031 | D11 | I/I Reduction Program FMZ27 | 2.834 | Active | 6-2479 |  | Dartmouth | - | 6040000 | 1.1541 | 6970964.6603 | 145484.0325 | 7116448.6928 | 25% | 1779112.1732 | 23.41% | 1249358.0127 | 4087978.5069
2026-2031 | EP6 & EP7 | Upgrade Quigley's Corner Pumping Station | 2.846 | Active | 6-2084 |  | Eastern Passage | - | 5928000 | 1.1541 | 6841701.7395 | 142786.3153 | 6984488.0548 | 95% | 6635263.6521 | 23.41% | 81746.0739 | 267478.3288
2026-2031 | EP6 | Quigley's Corner PS Relocation Study | 2.1122 | Active | 8-614 |  | Eastern Passage | - | 252000 | 1.1541 | 290841.5719 | 6069.8636 | 296911.4355 | 95% | 282065.8638 | 23.41% | 3475.0355 | 11370.5362
2026-2031 | EP13 | I/I Reduction Program FMZ24 | 2.830 | Active | 6-2475 |  | Eastern Passage | - | 1960000 | 1.1541 | 2262101.1149 | 47210.0503 | 2309311.1652 | 5% | 115465.5583 | 23.41% | 513533.0286 | 1680312.5783
2026-2031 | EP14 | I/I Reduction Program FMZ37 | 2.831 | Active | 6-2476 |  | Eastern Passage | - | 2479704 | 1.1541 | 2861908.7669 | 59728.036 | 2921636.8029 | 5% | 146081.8401 | 23.41% | 649698.9312 | 2125856.0315
2026-2031 | MC6 | Pumping Station (Beaver Bank #3 PS and Majestic Avenue PS) | 2978 | Active | 800000136 |  | Mill Cove | - | 7500000 | 1.1541 | 8655999.1643 | 180650.7026 | 8836649.8669 | 100% | 8836649.8669 | 0% | 0 | 0
2026-2031 | MC7 | Mill Cove Wastewater Treatment Plant Capacity Upgrade | Many | Active | Many | WO#s 6-2722, 6-1173, 6-1773, 6-2323 | Mill Cove | - | 148100000 | 1.1541 | 170927130.1652 | 3567249.2065 | 174494379.3717 | 50% | 87247189.6859 | 23.41% | 20422728.663 | 66824461.0228
2026-2031 | MC8.a | Mill Cove RDII Reduction Program FMZ07 & FMZ40 | 2.832 | Active | 6-2477 | Mill Cove RDII Reduction Program FMZ07 & FMZ40 - Lower Sackville | Mill Cove | - | 7098248 | 1.1541 | 8192323.8342 | 170973.7984 | 8363297.6326 | 5% | 418164.8816 | 23.41% | 1859788.1599 | 6085344.591
2026-2031 | MC8.b | Mill Cove RDII Reduction Program FMZ10 | 2.833 | Active | 6-2478 | Mill Cove RDII Reduction Program FMZ10 - Bedford Common | Mill Cove | - | 2290000 | 1.1541 | 2642965.0782 | 55158.6812 | 2698123.7594 | 5% | 134906.188 | 23.41% | 599995.2222 | 1963222.3492
2026-2031 | WR1.b | College Street - Sewer Separation | 2.679 | Active | 6-6020 | Spring Garden Road Pocket |  | - | 5055000 | 1.1541 | 5834143.4368 | 121758.5735 | 5955902.0103 | 50% | 2977951.0051 | 23.41% | 697075.58 | 2280875.4252
2026-2031 | WR2.a | Young Street Pocket - Sewer Separation - Route to Harbour | 2.982 | Active | 6-2474 | Young Street Pocket |  | - | 36200000 | 1.1541 | 41779622.6332 | 871940.7244 | 42651563.3576 | 25% | 10662890.8394 | 23.41% | 7487874.1823 | 24500798.3359
2026-2031 | WR2.b | Young Street - Sewer Separation | 2.672 | Active |  | Young Street Pocket |  | - | 5350000 | 1.1541 | 6174612.7372 | 128864.1678 | 6303476.9051 | 25% | 1575869.2263 | 23.41% | 1106633.3391 | 3620974.3397
2026-2031 | WR2.c | Robie Street - Sewer Separation | 2.678 | Future |  | Young Street Pocket |  | - | 6250000 | 1.1541 | 7213332.6369 | 150542.2521 | 7363874.8891 | 25% | 1840968.7223 | 23.41% | 1292795.9569 | 4230110.2099
2026-2031 | WR3.b | SSP - Bayers Road Pocket - Engineering Analysis | 2.946 | Active | 6-2471 | Upstream of Kempt CSO |  | - | 345943 | 1.1541 | 399264.3092 | 8332.6461 | 407596.9553 | 5% | 20379.8478 | 23.41% | 90639.3656 | 296577.742
2026-2031 | WR3.l | WRWIP: Sewer Separation Upstream of Kempt CSO | 2.1129 | Future |  | Upstream of Kempt CSO |  | - | 5118000 | 1.1541 | 5906853.8297 | 123276.0394 | 6030129.8692 | 99.05% | 5972843.6354 | 23.41% | 13409.5002 | 43876.7336
2026-2031 | WR10 & WR!! | WRWIP: BLT WWTF Decommission - New Timberlea PS and forcemains | 2.609 | Active | 8-0137 | WR10 and WR11 Combined | BLT | - | 26400000 | 1.1541 | 30469117.0585 | 635890.473 | 31105007.5315 | 5% | 1555250.3766 | 23.41% | 6916975.4878 | 22632781.6672
2026-2031 | WR12 | WRWIP: BLT WWTF Decommission | 2.647 | Future |  |  | BLT | - | 575000 | 1.1541 | 663626.6026 | 13849.8872 | 677476.4898 | 5% | 33873.8245 | 23.41% | 150653.8222 | 492948.8431
2026-2031 | WR13 | WRWIP: I/I Reduction Program in Fairview, Clayton Park, and Bridgeview areas | 2.1195 | Active |  |  | Halifax | - | 7000000 | 1.1541 | 8078932.5534 | 168607.3224 | 8247539.8758 | 5% | 412376.9938 | 23.41% | 1834046.5308 | 6001116.3511
2026-2031 | WR19 | WRWIP: Fairview Cove Linear Upsize | 2.5570 | Active | 6-1646 |  | Halifax | - | 22956100 | 1.1541 | 26494397.6555 | 552938.0791 | 27047335.7346 | 25% | 6761833.9337 | 23.41% | 4748408.5226 | 15537093.2784
2026-2031 | [6 empty] | Subtotal | 0 | 419086605 |  | 483681773.6888 | 10094438.6169 | 493776212.3057 |  | 267544607.3346 |  | 52956051.65 | 173275553.3211
2031-2036 | NEW | Integrated Resource Plan Update | 4.1700 | Active |  |  |  | - | 3000000 | 1.4602 | 4380622.4498 | 91423.5905 | 4472046.0403 | 83% | 3711798.2134 | 23.41% | 177957.9966 | 582289.8303
2031-2036 | D2a | LoWSCA: Wyse Road Separation - Phase 1 | 2.836 | Active | 6-2057 |  | Dartmouth | - | 3700000 | 1.4602 | 5402767.688 | 112755.7616 | 5515523.4497 | 25% | 1378880.8624 | 23.41% | 968300.8638 | 3168341.7235
2031-2036 | D2b | LoWSCA: Wyse Road Separation - Phase 2 | 2.837 | Active | 8-0125 |  | Dartmouth | - | 2100000 | 1.4602 | 3066435.7148 | 63996.5134 | 3130432.2282 | 75% | 2347824.1712 | 23.41% | 183192.0553 | 599416.0017
2031-2036 | D3 | Additional Sewer Separation on Wyse Street | 0 | Active |  |  | Dartmouth | 1912000 |  | 1.792 | 3426379.0904 | 71508.5316 | 3497887.622 | 25% | 874471.9055 | 23.41% | 614086.3395 | 2009329.377
2031-2036 | D6a-D6d | Maynard Lake and Clement Street Wetland Separation | 2.852 | Active | 6-2271 |  | Dartmouth | - | 21654000 | 1.4602 | 31619332.8424 | 659895.4764 | 32279228.3188 | 5% | 1613961.4159 | 23.41% | 7178092.8141 | 23487174.0887
2031-2036 | D9 | Anderson Pumping Station Upgrades | 0 | Future |  |  | Dartmouth | 340000 |  | 1.792 | 609293.3529 | 12715.9523 | 622009.3052 | 100% | 622009.3052 | 0% | 0 | 0
2031-2036 | D12 | I/I Reduction Program FMZ45 | 2.1197 | Active |  |  | Dartmouth | - | 1120232 | 1.4602 | 1635771.1494 | 34138.5439 | 1669909.6933 | 5% | 83495.4847 | 23.41% | 371346.1379 | 1215068.0707
2031-2036 | D16 | Pinecrest Dr Upgrade | 0 | Future |  |  | Dartmouth | 1013000 |  | 1.792 | 1815335.7838 | 37886.0578 | 1853221.8416 | 100% | 1853221.8416 | 0% | 0 | 0
2031-2036 | D24 | King Street Diversion | 2.1035 | Future |  |  | Dartmouth | - | 125000 | 1.4602 | 182525.9354 | 3809.3163 | 186335.2517 | 95% | 177018.4891 | 23.41% | 2180.8578 | 7135.9048
2031-2036 | EP1-EP5 | Gravity pressure sewer, pump out stations, surge tank gate valve, force main connections | 2.839 | Active | 6-2458 |  | Eastern Passage | - | 45000000 | 1.4602 | 65709336.7464 | 1371353.8579 | 67080690.6043 | 25% | 16770172.6511 | 23.41% | 11776632.1271 | 38533885.8261
2031-2036 | EP8 | Upgrade Memorial Drive Pumping Station | 2.081 | Future |  |  | Eastern Passage | 2633000 |  | 1.792 | 4718439.4064 | 98473.8304 | 4816913.2368 | 100% | 4816913.2368 | 0% | 0 | 0
2031-2036 | EP12 | I/I Reduction Program FMZ23 | 2.1198 | Active |  |  | Eastern Passage | - | 3204580 | 1.4602 | 4679351.6967 | 97658.0699 | 4777009.7666 | 5% | 238850.4883 | 23.41% | 1062287.4605 | 3475871.8177
2031-2036 | MC4 | Storage Tank | 0 | Future |  |  | Mill Cove | 17469000 |  | 1.792 | 31305134.0642 | 653338.1479 | 31958472.2121 | 5% | 1597923.6106 | 23.41% | 7106764.6807 | 23253783.9208
2031-2036 | MC5 | Fish Hatchery Park Pumping Station Upgrade | 0 | Future |  |  | Mill Cove | 10529000 |  | 1.792 | 18868381.5079 | 393783.1221 | 19262164.63 | 50% | 9631082.315 | 23.41% | 2254433.4271 | 7376648.8879
2031-2036 | MC9 | I/I Reduction Program FMZ02 & FMZ03 | 2.1196 | Active |  |  | Mill Cove | - | 8000000 | 1.4602 | 11681659.866 | 243796.2414 | 11925456.1074 | 5% | 596272.8054 | 23.41% | 2651923.0864 | 8677260.2157
2031-2036 | WR1.f | WRWIP: Spring Garden Area Sewer Separation | 2.1073 | Active | 8-0126 | Spring Garden Road Sewer Separation Pocket, SSP - Spring Garden Road Pocket |  | - | 15500000 | 1.4602 | 22633215.9904 | 472355.2177 | 23105571.2082 | 50% | 11552785.6041 | 23.41% | 2704263.6736 | 8848521.9304
2031-2036 | WR2.d | Young Street Pocket - Sewer Separation - Side Streets | 2.744 | Future |  | Younge Street Pocket |  | - | 2750000 | 1.4602 | 4015570.5789 | 83804.958 | 4099375.5369 | 25% | 1024843.8842 | 23.41% | 719683.0744 | 2354848.5783
2031-2036 | WR2.e | Windsor - Almon - Sewer Separation | 2.742 | Future | 6-2272 | Younge Street Pocket |  | - | 3000000 | 1.4602 | 4380622.4498 | 91423.5905 | 4472046.0403 | 25% | 1118011.5101 | 23.41% | 785108.8085 | 2568925.7217
2031-2036 | WR3.c | Bayers Road Pocket - Capacity Upgrades | 2.992 | Active |  | Upstream of Kempt CSO |  | - | 5000000 | 1.4602 | 7301037.4163 | 152372.6509 | 7453410.0671 | 5% | 372670.5034 | 23.41% | 1657451.929 | 5423287.6348
2031-2036 | WR3.d | SSP - Mic Mac to Windosr Side Streets - Sewer Separation | 2.990 | Active |  | Upstream of Kempt CSO |  | - | 18250000 | 1.4602 | 26648786.5694 | 556160.1757 | 27204946.7451 | 5% | 1360247.3373 | 23.41% | 6049699.5409 | 19794999.867
2031-2036 | WR3.f | Conaught Avenue - Sewer Separation | 2.947 | Future |  | Upstream of Kempt CSO |  | - | 18250000 | 1.4602 | 26648786.5694 | 556160.1757 | 27204946.7451 | 5% | 1360247.3373 | 23.41% | 6049699.5409 | 19794999.867
2031-2036 | WR14-WR17 | WRWIP: BLT Flow Diversion to Herring Cove | 0 | Future |  | Multiple Projects IDs - 2.580, 2.579, 2.581, 2.582 | BLT | 24674000 |  | 1.792 | 44216777.0279 | 922804.1366 | 45139581.1644 | 5% | 2256979.0582 | 23.41% | 10037913.5458 | 32844688.5604
2031-2036 | WR18 | WRWIP: Herring Cove Road - Gravity Sewer Upsize | 2.587 | Future |  |  | Herring Cove | 7439000 |  | 1.792 | 13330980.1536 | 278217.5558 | 13609197.7094 | 5% | 680459.8855 | 23.41% | 3026345.0947 | 9902392.7292
2031-2036 | [6 empty] | Subtotal | 66009000 | 150653812 |  | 338276544.0503 | 7059831.4743 | 345336375.5246 |  | 66040141.9162 |  | 65377363.0546 | 213918870.5538
2036-2041 | NEW | Integrated Resource Plan Update | - | Future | - |  |  | - | 3000000 | 1.8475 | 5542356.4291 | 115668.9787 | 5658025.4077 | 83% | 4696161.0884 | 23.41% | 225152.1691 | 736712.1502
2036-2041 | XXX | Dartmouth WWTF | 0 | Future | - | Note on BTE - Method 4 - Flow Ratio (modified to include flow and loading ratio as per WWTF Planning Study 2024) | Dartmouth | - | 161800000 | 1.8475 | 298917756.7405 | 6238413.5832 | 305156170.3237 | 57% | 173939017.0845 | 23.41% | 30715170.6111 | 100501982.6281
2036-2041 | XXX | Halifax Treatment Plant Compliance Upgrade | 0 | Future | - | Note on BTE - Method 4 - Flow Ratio (modified to include flow and loading ratio as per WWTF Planning Study 2024) | Halifax | - | 202600000 | 1.8475 | 374293804.1757 | 7811511.6931 | 382105315.8688 | 65% | 248368455.3148 | 23.41% | 31304980.9991 | 102431879.555
2036-2041 | D7 | New Valleyford Pumping Station | 2.006 | Active | - |  | Dartmouth | 10446000 |  | 2.2673 | 23684061.0562 | 494286.3542 | 24178347.4104 | 75% | 18133760.5578 | 23.41% | 1414910.4128 | 4629676.4398
2036-2041 | D10 | Upgrades to Dartmouth WWTF | 0 | Future | - |  | Dartmouth | 12572000 |  | 2.2673 | 28504309.3623 | 594884.9364 | 29099194.2987 | 0% | 0 | 23.41% | 6811508.2172 | 22287686.0814
2036-2041 | D19 | Akerley Blvd and Railway Alignment Upgrade | 0 | Future | - |  | Dartmouth | 4814000 |  | 2.2673 | 10914710.8869 | 227790.0162 | 11142500.9031 | 25% | 2785625.2258 | 23.41% | 1956168.5029 | 6400707.1744
2036-2041 | D25 | Diversion to Eastern Passage | 0 | Future | - |  | Dartmouth | 12113000 |  | 2.2673 | 27463625.4618 | 573165.8634 | 28036791.3251 | 0% | 0 | 23.41% | 6562822.0677 | 21473969.2574
2036-2041 | EP9 | Upgrade Beaver Crescent Pumping Station | 0 | Future | - |  | Eastern Passage | 168000 |  | 2.2673 | 380903.9113 | 7949.4646 | 388853.3759 | 100% | 388853.3759 | 0% | 0 | 0
2036-2041 | EP10 | Upgrade Bissett Lake Pumping Station | 0 | Future | - |  | Eastern Passage | 2934000 |  | 2.2673 | 6652214.7366 | 138831.7216 | 6791046.4582 | 50% | 3395523.2291 | 23.41% | 794820.4386 | 2600702.7904
2036-2041 | EP11 | Upgrade Caldwell Road Pumping Station | 0 | Future | - |  | Eastern Passage | 631000 |  | 2.2673 | 1430656.9526 | 29857.8106 | 1460514.7632 | 25% | 365128.6908 | 23.41% | 256406.7979 | 838979.2744
2036-2041 | EP15 | Local network upgrades on Caldwell Road | - | Future |  |  | Eastern Passage | 607000 |  | 2.2673 | 1376242.1081 | 28722.1728 | 1404964.2809 | 25% | 351241.0702 | 23.41% | 246654.3999 | 807068.8107
2036-2041 | MC1-MC3 | Trunk Sewer Upgrades (Sackville Trunk Upgrades) | 0 | Future | - |  | Mill Cove | 13491000 |  | 2.2673 | 30587944.4485 | 638370.4006 | 31226314.8491 | 25% | 7806578.7123 | 23.41% | 5482066.7371 | 17937669.3997
2036-2041 | MC15 | Local Sewer Upgrades for Waterfront Drive | 0 | Future | - |  | Mill Cove | 500000 |  | 2.2673 | 1133642.5932 | 23659.1209 | 1157301.7141 | 100% | 1157301.7141 | 0% | 0 | 0
2036-2041 | WR20 | WRWIP: Halifax Treatment Plant Capacity Upgrade | 0 | Future | - |  | Halifax | 25142000 |  | 2.2673 | 57004084.1542 | 1189675.2363 | 58193759.3905 | 5% | 2909687.9695 | 23.41% | 12940836.1929 | 42343235.228
2036-2041 | WR21 | WRWIP: Linear Upgrades within the Kearney Lake Road Area | 2.588 | Future | 6-1480 |  | Halifax | 2997000 |  | 2.2673 | 6795053.7034 | 141812.7708 | 6936866.4742 | 5% | 346843.3237 | 23.41% | 1542585.5568 | 5047437.5936
2036-2041 | [6 empty] | Subtotal | 86415000 | 367400000 |  | 874681366.7201 | 18254600.1234 | 892935966.8435 |  | 464644177.3569 |  | 100254083.1032 | 328037706.3835
2041-2046 | NEW | Integrated Resource Plan Update | - | Future | - |  |  |  | 3000000 | 2.3374 | 7012180.3782 | 146344.2045 | 7158524.5827 | 83% | 5941575.4037 | 23.41% | 284862.1597 | 932087.0194
2041-2046 | MC16 | Springfield Lake Connection to Sackville | - | Future | - |  |  | 6226000 |  | 2.8686 | 17859689.0886 | 372731.7113 | 18232420.7999 | 50% | 9116210.3999 | 23.41% | 2133912.761 | 6982297.6389
2041-2046 | WR8 | New fairfield Holding Tank | - | Future | - |  |  | 12403000 |  | 2.8686 | 35578818.4654 | 742529.9414 | 36321348.4068 | 50% | 18160674.2034 | 23.41% | 4251031.1556 | 13909643.0478
2041-2046 | [6 empty] | Subtotal | 18629000 | 3000000 |  | 60450687.9322 | 1261605.8571 | 61712293.7894 |  | 33218460.007 |  | 6669806.0763 | 21824027.7061
Grand Total | [6 empty] | Total 2041 Projects | 162743129.1545 | 962238064 |  | 1733819701.0453 | 36184817.1608 | 1823017493.3394 |  | 832190357.7491 |  | 220664262.6629 | 753204076.6015
[7 empty] | Total up to 2040 Projects | 145460129.1545 | 888758064 |  | 1558883427.7013 | 32533897.1361 | 1644430299.9707 |  | 739261522.2777 |  | 200613446.0423 | 687596535.3248
Note on N26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Heather Miller @Josh DeYoung @Louis de Montbrun Heather - any info on the costs and BTE? For cells 26-30

## 2025 Wastewater - Charge
Wastewater Regional Development Charge Summary
|  |  | 2024 with WSEP | With Updated costs in 2025
Total cost of wastewater infrastructure program to the benefit of the RDC | (A) |  | 1157422151.7085 | 1558883427.7013
Interest during construction | (B) | Note 1 | 24155400.3062 | 32533897.1361
Total cost of wastewater infrastructure program to the benefit of the RDC plus IDC | (C) = (A) + (B) |  | 1181577552.0147 | 1591417324.8374
Less: portion of infrastructure that benefits Halifax Water customers to be deducted | (D) = (C) * Varies% | Note 2 | 557797552.9923 | 739261522.2777
Less: portion of infrastructure that benefits the post period | (E) = ((C) - (D)) * 23.4% | Note 3 | 137897127.3742 | 200613446.0423
Net regional development charge infrastructure (wastewater) | (F) = (C) - (D) - (E) |  | 474224467.068 | 651542356.5175
Less: inflation adjustment | (F') = Inflation Adjustment | Note 4 | -126600886.0187 | -86817235.6346
Total regional development charge cost to be recovered | (F'') = (F) + (F') |  | 347623581.0493 | 564725120.8829
Residential growth percentage (residential growth / total growth) | (G) |  | 63.23% | 63.23%
Employment growth percentage (employment PE growth / total growth) | (H) |  | 36.77% | 36.77%
Residential benefit of the regional development charge | (I) = (F") * (G) |  | 219788605.8604 | 357053300.6955
Employment benefit of the regional development charge | (J) = (F") * (H) |  | 127834975.1888 | 207671820.1874
Total projected residential growth between April 1, 2019 - March 31, 2040 (people) | (K) | Note 5 | 89370 | 89370
Total projected employment PE growth between April 1, 2019 - March 31, 2040 (PE) | (L) | Note 6 | 51980 | 51980
Projected number of residential units | (M) = (K) / 2.04 ppu |  | 43809 | 43809
Projected number of single unit dwellings / townhouses (units) | (N) = (M) * 26% | units | 11390 | 11390
Projected number of multi-unit dwellings (units) | (O) = (M) * 74% | units | 32419 | 32419
Relative density factor | (P) = 3.35 PPU / 2.25 PPU | Note 7 | 1.4889 | 1.4889 |  | Current charge | with WSEP
[6 empty] | 2023 | 2024 | 2025
Single unit dwelling / townhouse regional development charge | (Q) = (I) / ((N) + ((O)/(P))) | SUD/TH | 6627.3339 | 10766.3063 | Single Unit ($ / unit) | 6126.84 | 6627.3339 | 10766.3063
[5 empty] | Multi Unit ($ / unit) | 4115.04 | 4451.1944 | 7231.1013
Multi-unit dwelling regional development charge | (R) = (I) / ((O) + ((N)*(P))) | MUD | 4451.1944 | 7231.1013 | ICI ($ / ft2) |  | 3.0399 | 4.9385
[5 empty] | ICI ($ / m2) | 30.24 | 32.7216 | 53.1573
Employment benefit regional development charge per worker population equivalent | (S) = (J) / (L) | per worker population equivalent | 2459.3108 | 3995.2255 | WW Increase compared to previous |  | 8.169% | 62.45%
[5 empty] | WW Increase compared to current |  |  | 75.72%
Employment density (FSWPE) | (T) | sq.ft. per worker population equivalent | 809 | 809
Non-residential regional development charge | (U) = (S) / (T) | per ft2 | 3.0399 | 4.9385
|  | per m2 | 32.7216 | 53.1573
Note 1: Interest during construction 2025 onward 2.09%.
Note 2: Benefit to existing Halifax Water customers, benefit varies based on project.
Note 3: Benefit to population growth beyond March 31, 2040. This benefit would be recovered in subsequent RDC updates. PPB not applied to completed projects.
Note 4: Inflation adjustment, in the absence of escalation factors (Halifax CPI applied to the RDC and non-res construction CPI applied to the infrastructure cost estimates) equals the amount of financing charges. The inflation adjustment within the RDC offsets the financing charges so that a 2019 base charge (year 1) can be calculated.
Note 5: Residential population projection adjusted to project April 1, 2019 - March 31, 2040. RDC payments made from 2014 through 2018 have been inserted into the model.
Note 6: Employment population projection adjusted to project April 1, 2019 - March 31, 2040. RDC payments made from 2014 through 2018 have been inserted into the model.
Note 7: Relationship factor between a multi-unit dwelling and a single unit dwelling, values are derived from the Halifax Regional Subdivision By-law and Halifax Planning.

## Population Projections
Population Projections
Start Date | End Date | Period (years) | Residential Growth (people) | Residential Growth (units) | Residential Growth (singles unit dwelling & townhouses) | Residential Growth (multi-unit dwellings) | Residential Growth (cumulative people) | Employment Growth (PE) | Employment Growth (equivalent area sq.ft.) | Employment PE Growth (cumulative PE)
2016-04-01 | 2021-03-31 | 4.9966 | 18548 | 9092 | 2364 | 6728 | 18548 | 10788 | 8731013 | 10788
2021-04-01 | 2026-03-31 | 4.9966 | 19595 | 9605 | 2497 | 7108 | 38143 | 11397 | 9223893 | 22185
2026-04-01 | 2031-03-31 | 4.9966 | 21212 | 10398 | 2703 | 7695 | 59355 | 12338 | 9985469 | 34523
2031-04-01 | 2036-03-31 | 4.9993 | 22162 | 10864 | 2825 | 8039 | 81517 | 12890 | 10432218 | 47413
2036-04-01 | 2041-03-31 | 4.9966 | 23727 | 11631 | 3024 | 8607 | 105244 | 13800 | 11168705 | 61213
2041-04-01 | 2046-03-31 | 4.9966 | 25969 | 12730 | 3310 | 9420 | 131213 | 15104 | 12224066 | 76317
| Total |  | 131213 | 64320 | 16723 | 47597 |  | 76317 | 61765364
Integrated Master Plan - Population | [5 empty] | Assumptions, NSUARB decision document #280268 dated February 12, 2021
|  |  | Start Date | End Date
Time period |  | 30 years | 2016-04-01 | 2046-03-31 |  | 2.04 | people per unit (PPU)
Residential growth |  | 131213 |  |  |  | 0.965 | population equivalent (PE) to one employee (U-16 methodology of M09494)
Employment growth to 2046 |  | 79086 |  |  |  | 26% | single unit dwelling market share
Total Growth |  | 210299 |  |  |  | 74% | multi-unit dwelling market share
H-24 - Employment/Resdiential Ratio * 0.965 |  | 58.16% |  |  |  | 58% | target employment growth HRM Regional Plan
Residential growth |  | 131213 |  |  |  | 58.16% | employment PE growth (derived using H-24 M09494)
Employment PE growth to 2046 |  | 76317 |  |  |  | 781 | employment denisty floor space per worker (FSW, sq.ft./worker)
Total Growth (PE Adjusted) |  | 207530 |  |  |  | 809.3264 | employment density floor space per worker population equivalent (FSWPE, sq.ft/worker PE, 781sq.ft./.965)
Residential growth |  | 63.23%
Employment growth |  | 36.77%
Regional Development Charge - Variables | [5 empty] | Period Growth (PE)
|  |  | Start Date | End Date |  | Start Date | End Date | Period (years) | Residential | Employment (PE) | Total
2019 estimated RDC collections |  | 1 year | 2019-04-01 | 2020-03-31 |  | 2016-04-01 | 2046-03-31 | 29.9959 | 131213 | 76317 | 207530
Financial model |  | 20 years | 2020-04-01 | 2040-03-31 |  | 2016-04-01 | 2040-03-31 | 23.9973 | 100498.6 | 58453 | 158951.6
Time period |  | 21 years | 2019-04-01 | 2040-03-31 |  | 2019-04-01 | 2040-03-31 | 20.9993 | 89369.8 | 51980.2 | 141350
Total residential growth |  | 89369.8
Total employment population equivalent growth |  | 51980.2
Total Growth (PE) |  | 141350
Residential growth |  | 63.23%
Employment population equivalent Growth |  | 36.77%
Post Period Benefit |  | 23.41% | 2040-04-01 | 2046-03-31

## Escalation Factors
Escalation Factors |  |  |  |  | 4.817% |  | Projected Annual Escalation on Infrastructure (See Financial Assumptions Tab)
ENR inflation Compounded Annually |  |  |  |  | 2.844% |  | Projected Annual Indexing of Rates (See Financial Assumptions Tab)
Infrastructure Escalation 2017 cost estimates |  |  |  | RDC Escalation
Year | Factor |  |  | Year | Factor | 2025 Infra Factor | Infra Escalation for projects updated in 2025
2008 | 1 |  |  | 2008 | 1
2009 | 1 |  |  | 2009 | 1
2010 | 1 |  |  | 2010 | 1
2011 | 1 |  |  | 2011 | 1
2012 | 1 |  |  | 2012 | 1
2013 | 1 |  |  | 2013 | 1
2014 | 1 |  |  | 2014 | 1
2015 | 1 |  |  | 2015 | 1
2016 | 1 |  |  | 2016 | 1
2017 | 1 |  |  | 2017 | 1
2018 | 1 |  |  | 2018 | 1
2019 | 1 |  |  | 2019 | 1
2020 | 1.0224 | 2019-2021 | 1.0135 | 2020 | 1
2021 | 1.0453 |  |  | 2021 | 1 | 1
2022 | 1.0687 | 2021-2026 | 1.1258 | 2022 | 1 | 1 | 1.0482
2023 | 1.117 |  |  | 2023 | 1 | 1
2024 | 1.1708 | 2026-2031 | 1.4164 | 2024 | 1 | 1 | 1.1541
2025 | 1.2272 |  |  | 2025 | 1 | 1
2026 | 1.2864 | 2031-2036 | 1.792 | 2026 | 1.0284 | 1.0482 | 1.4602
2027 | 1.3483 |  |  | 2027 | 1.0577 | 1.0987
2028 | 1.4133 | 2036-2041 | 2.2673 | 2028 | 1.0878 | 1.1516 | 1.8475
2029 | 1.4814 |  |  | 2029 | 1.1187 | 1.2071
2030 | 1.5527 | 2041-2046 | 2.8686 | 2030 | 1.1505 | 1.2652 | 2.3374
2031 | 1.6275 |  |  | 2031 | 1.1832 | 1.3261
2032 | 1.7059 |  |  | 2032 | 1.2169 | 1.39
2033 | 1.7881 |  |  | 2033 | 1.2515 | 1.457
2034 | 1.8742 |  |  | 2034 | 1.2871 | 1.5272
2035 | 1.9645 |  |  | 2035 | 1.3237 | 1.6007
2036 | 2.0591 |  |  | 2036 | 1.3613 | 1.6778
2037 | 2.1583 |  |  | 2037 | 1.4001 | 1.7587
2038 | 2.2623 |  |  | 2038 | 1.4399 | 1.8434
2039 | 2.3712 |  |  | 2039 | 1.4808 | 1.9322
2040 | 2.4855 |  |  | 2040 | 1.5229 | 2.0252
2041 | 2.6052 |  |  | 2041 | 1.5663 | 2.1228
2042 | 2.7307 |  |  | 2042 | 1.6108 | 2.225
2043 | 2.8622 |  |  | 2043 | 1.6566 | 2.3322
2044 | 3.0001 |  |  | 2044 | 1.7037 | 2.4446
2045 | 3.1446 |  |  | 2045 | 1.7522 | 2.5623
2046 | 3.2961 |  |  | 2046 | 1.802 | 2.6858